力准传感   引领未来

Ligent Sensor Lead the Future

深圳市力准传感技术有限公司

苏州办事处地址：江苏省苏州昆山市花桥镇亚太广场4号2510

地址：深圳市龙岗区横岗228工业区17栋3楼

电话：0512-5035 3133

公司网站：www.ligentcn.com

电话：0755-8923 3819 / 8923 3406   传真：0755-8923 3919

邮箱：info@ligentcn.com

Shenzhen Ligent Sensor Tech Co.,Ltd

Add(SuZhou):No.2510,4# Building.Yatai square,Huaqiao

Town,Kunshan,Suzhou China

Tel:+86 513-50353133

Add(shenzhen):No.3 Floor,17th Building 228 Industrial

Zone,HengGang,LongGang,shenzhen China,518115

Tel:+86 755 8923819 89233406   Fax:+86 755 89233919

Websete:www.ligentcn.com  Email:info@ligentcn.com

欢迎进入力准传感世界

Welcome to Ligent

Sensor world

力准传感   引领未来

Ligent Sensor Lead the  Future

企业简介

COMPANY PROFILE

深圳市力准传感技术有限公司是一家专门从事力值测量技

术研究、产品研发生产、销售和服务为一体的国家级高新技术企

业，主要从事于传感器、变送器、控制仪表的研发生产和提供系统

工程控制的解决方案。公司拥有现代化的宽敞厂房，先进的生产

和检测设备，专业的研发团队以及完善的管理体系。公司现已取

得ISO9001 质量管理体系认证和多项产品ROHS、CE  认证。

传感器、压力变送器、放大器、控制仪表等达百余种，并已获得多

项国家专利。产品广泛应用于各种工业自动化生产线、机器人、冶

金以及医疗等新型和智能化高端领域。通过不断的改进完善，我

们的产品因其高稳定和灵敏性，可完全替代国外同类的产品。

我们的企业宗旨：为智能制造企业，提供最有“力”的服务，

最精“准”的产品，成为自动化、智能制造业的首选力值测量品牌。

凭借三十多年在力值测量领域方面的先进技术和经验，目前

公司设计生产的系列微型拉/ 压力传感器、三维力传感器、测力

经营理念：与客户共赢，与员工共享，助力于中国自动化行

业的发展。

Shenzhen Ligent Sensor Tech Co.,

Ltd. is  a national  high-tech  enterprise

specializing     in  force  measurement

technology     research    and   product

development,    production,   sales  and

services,  mainly  engaged  in  the R&D

and production of sensors,  transmitters

and control  instrument,   and providing

solutions     for   engineering     control

system.   We  have  modern   spacious

factory buildings,  advanced production

and  testing  equipment,    professional

R&D teams  and management  system.

Also, we  have now  achieved ISO9001

quality  management  system certifica-

tion  and  a number   of ROHS  and  CE

product certifications.

With    more   than    30   years    of

advanced technology  and experiences

products   are  able  to replace   foreign

similar products due  totheir high stabil-

ity and sensitivity.

in the  field  of force  measurement,   we

have designed and producedmore  than

hundreds of types of products  including

miniature  compression  and/or  tension

load  cells,   three-dimensional     force

sensors,    force   sensors,    pressure

transducers,    transmitters/amplifiers

and indicators,  which  have  obtained a

number of  national patents.  Our prod-

ucts  are widely  applied  in  a variety  of

new  and  intelligent   high-end   areas,

such as  industrial automation  produc-

tion  lines,   robotics,    metallurgy    and

medicalapparatus     and  instruments.

Through  continuous improvement,  our

Our mission  statement:  to provide

the  most‘powerful’servicesand   the

most‘accurate’products for intelligent

manufacturing  enterprises,  in  order to

become  one oftopforce  measurement

brand  in  the  field  of  automation   and

intelligent manufacturing.

Business  philosophy:   to  create  a

win-win situation with customers, share

with   employees,     and  assist   in   the

development of automation in china.

品质 Quality

高素质的员工，精密的加工设备、严谨的工艺流

程，严格的管理制度，这一切都是为了保证力准

一贯的高贵品质。

High-quality staff, sophisticated  processing

equipment, strict process,  strict management

system,All these are  to  ensure that Ligent’s

products are always with  high quality.

01

/02

or L

传感器技术联合创新研发中心

产学研合作实践教育基地

University-Inudstry Cooperation Practice Education Base

CERTIFICATE

OF

CONFORMITY

CERTIFICATE  OF  CONFORMITY

Certificate     No.:  ZRLK1509071053

Certificate     No.:  ZRLK150907105

The following product has been tested by Shenzhen ZRLK Testing Technology Co., Ltd. as specified

complied with the requirements of RoHS Directive 2011/65/EU. It is possible to use CE marking to

demonstrate the conformity with the RoHS Directive.

The following product has been tested by Shenzhen ZRLK Testing Technology Co., Ltd. as specified

complied with the requirements of RoHS Directive 2011/65/EU. It is possible to use CE marking to

demonstrate the conformity with the RoHS Directive.

Holder of Certificate

Manufacturer

:

:

SHENZHEN LIGENT SENSOR TECH CO.,LTD

4F, South ChengFa Industrial Building, Yinhe Road, HeAo,

LongGang Dist., Shenzhen 518115, China

SHENZHEN LIGENT SENSOR TECH CO.,LTD

4F, South ChengFa Industrial Building, Yinhe Road, HeAo,

LongGang Dist., Shenzhen 518115, China

Force sensor

Holder of Certificate

Manufacturer

:

:

SHENZHEN LIGENT SENSOR TECH CO.,LTD

4F, South ChengFa Industrial Building, Yinhe Road, HeAo,

LongGang Dist., Shenzhen 518115, China

SHENZHEN LIGENT SENSOR TECH CO.,LTD

4F, South ChengFa Industrial Building, Yinhe Road, HeAo,

LongGang Dist., Shenzhen 518115, China

Force sensor

Description of Product

Model No.

:

:

:

Description of Product

Model No.

:

:

:

LFS-02, LFS-01, LFS-01A, LFS-05, LFS-06, LFS-3A, LFS-08

LFC-15,

LFC-20,LFC-8,

LFC-10,

LFC-12,

LFC-13,

LFC-19,

LFC-20-3M

LFS-02, LFS-01, LFS-01A, LFS-05, LFS-06, LFS-3A, LFS-08

----

Trade Name

----

Trade Name

Test Standards

:

SfocrrReeonHinSgDbiyreXctRiv

F

e(S2p0e1c1t/r6

o

5s/cE

o

Up)y and Chemical Confirmation Test

Test Standards

:

Screening by XRF Spectroscopy and Chemical Confirmation Test for RoHS Directive(2011/65/EU)

Report No.

:

ZRLK15090860109R

Report No.

:

ZRLK150908610R

The Declaration is issued after testing of the named product(s) and audit of the technical

documentation and confirms that the tested product complies with the essential protection

The Declaration is issued after testing of the named product(s) and audit of the technical

documentation and confirms that the tested product complies with the essential protection

requirements of the mentioned directives on a voluntary basis; The statement is based on a single

evaluation of one sample of above-mentioned products.

requirements of the mentioned directives on a voluntary basis; The statement is based on a single

evaluation of one sample of above-mentioned products.

Certification Body

Certification Body

Frank

Frank

Feng

Feng

/

/

General

General

Manager

Manager

Date: Sep. 07, 2015

Date: Sep. 07, 2015

Frank

Feng

/

General

Manager

Date: Sep. 07, 2015

Shenzhen

ZRLK

Testing

Technology

Co.,

Ltd

Shenzhen     ZRLK   Testing    Technology     Co.,   Ltd

6F,

Fuxinfa

Industrial

Park,

Liuxiandong,

Xili

Street,

Nanshan

District,

Shenzhen,

China

6F, Fuxinfa   Industrial  Park,  Liuxiandong,  Xili  Street,  Nanshan  District,  Shenzhen,   China

Tel.:

+86-755-36602375

Fax.:

+86-755-33602376

Website:

www.zrlklab.com

Tel.:

+86-755-36602375

Fax.:

+86-755-33602376

Website:  www.zrlklab.com

我们的售后服务  Customer Service

我公司提供的产品均是具有自主知识产权，自主研发，自主生产的产品。为客户提供高效全面的服务，最大程度的保障客户的切

身利益是我们坚持不变的服务原则。为了给客户提供最高品质的服务，我们视服务为最重要的产品，力求做到服务的专业化，多元化，

层次化，为客户提供包括产品咨询、产品设计、项目实施、项目维护，专业培训等在内的长期、全面的技术服务与支持。并承诺提供最佳

的技术支持及售后服务，保证产品运行于最佳状态。

All of our  products have independent  Intellectual  Property Rights,  Independent research,  Independent produce.

Supplying high  -efficiency and  all-around service  to our customers,  guarantee customer’s benefit  at most are our

perseverance service  principle. In order  to supply top quality service  to customer, we are trying  our best to make our

service more specialization,  multi-element,  multi-level,  Supplying long term, all-around  technic service  and support

which in  the field of  produce consultation,   produce design  , project  implementation  and maintenance,  professional

training, meanwhile, we promise  to supply best technic support and sales service  to guarantee our product in the best

situation.

Contents产品目录

微型压式传感器

05-14

15-20

21-26

27-34

35-42

43-44

45-49

50-53

54-57

58-58

59-62

63-65

66-70

71-76

77-77

78-78

Miniature Compression  Force Sensor

拉杆式拉压传感器

Screw Type Tension & Compression Force Sensor

S型拉压传感器

S Type Force Sensor

环形传感器

Ring Shaped Force Sensor

柱式传感器

Column Force Sensor

轴销类传感器

Load Pin

秤重类传感器

Load Cell

多轴力传感器

Multi-axis Force Sensor

静态扭矩传感器

Static Torque Sensor

微型位移传感器

Micro-Displacement Sensor

动态扭矩传感器

Dynamic Torque Sensor

液压传感器

Pressure Sensor/Transmitter

变送器/放大器

Transmitter/Amplifier

控制仪表

Digital Control Indicator

TEDS系统构成

TEDS System Components

便携式手持仪

Portable Dynamometer

03

/04

微型压式传感器

Miniature Compression  Force Sensor

微型

传感

器

微型压式传感器

传感器接线示意图  Wire Connection

1、结构特点：膜盒式或变截面膜盒式结构。

2、特点：结构紧凑，小巧，高度低，适合于安装空间有限的设备上的力

值检测、控制。

激励+( 红)  Exc+(Red)

3、动态响应频率小于300Hz。

信号+( 绿)  Sig+(Green)

Minimum Compression Force Sensor

1、Structure Features: Bellow style.

激励-( 黑)  Exc-(Black)

信号-( 白)  Sig-(White)

2、Features: compact structure, small volume, low profile, suit-

able  for force  measurement   and  control  in  small  space  of

equipment.

3、Dynamic Response Frequency: less than 300Hz.

屏蔽线Shield

应用领域 Application

1、消费类电子和电子行业

屏幕压装、电池压装、功能键- HOME 键等装配,  密封性能检测、按

键检测等力值检测和控制; 插拔力、簧片张力及装配应力、焊接的力

值检测。

1、Consumer electronics and electronic industries:

Force  measurement    and control   in  production   of  screen

mounting,   battery  mounting,   function   key  assembly  (like

HOME  button  etc),  seal  performance   testing,  key  testing.

Force measurement of insertion force,  strip tension, pressure

equipment, welding and assembly stress strength testing, etc.

2、注塑和模具行业

3、医疗行业

4、机器人

5、汽车

合模力值的检测和控制，装配力

值检测，装配间隙和压入力值检

测和控制

注液泵的力值检测和控制，医疗

床等行业

机器人手指抓取力值的检测和控

制，压入力的检测和控制

装配力值检测、压入力值检测

2、Injection molding and

mold industry

3、Medical Industries

Force measurement and

control of Injection bump, and

medical bed.

4、Robots

5、Auto Industry

Grasping force measurement

and control of robot fingers,

compression or tension,

press in force measurement

and control.

Assembling force, press-in

force, polishing and welding

force measurement and

control.

Clamping force measure-

ment and control, Press-in

force and assembling gap

detection and control .

05

/06

LFC-08

Ø  8±0.1

Ø  F

Ø  A

弹簧端子 Spring

H1

E

Model

Capacity

ØA

1.5

2

H

H1

5.2

E

F

5-10kg

20-30kg

50-100kg

5-10kg

LFC-08-H6

6

2.3

3.2

2.5

1.5

2

Direct Cable

No spring

LFC-08-H3.5

3.5

3

1.4

20-30kg

LFC-08规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-100kg

材质 Material

Stainless Steel

350 Ω

1.0-1.5 mV/V

± 2 % F.S.

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

2.5-5V

非线性 Non-linearity

1.0-5.0% F.S.

1.0-5.0% F.S.

1.0-5.0% F.S.

0.1-0.5% F.S.

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

- 20 ~ 80 ºC

150%

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

Resistance to bend cable Ø 2 x 3m

LFC-10

Ø  10

Ø  A

弹簧端子 Spring

Ø  F

H

H1

E

Model

Capacity

5-30kg

ØA

1.5

2.5

1.5

H

H1

5.2

E

F

LFC-10-H6

6

2.3

3.2

50-100kg

5-50kg

LFC-10-H3.5

3.5

3

1.36     Direct Cable No spring

LFC-10规格参数 Specifications

微型压式

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-100kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

Stainless Steel

350 Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

2.5-5V

传感

器

非线性 Non-linearity

1.0-3.0% F.S.

1.0% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

- 20 ~ 80 ºC

150%

重复性 Repeatability

1.0% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

微型

传感

器

LFC-12

Ø  E

F

Ø  A

Ø  G

D

B

C

H

Model

Capacity

A

B

7

C

D

E

F

5

G

2

H

5-10kg

20-100kg

5-10kg

1.0

2.5

1.0

2.5

LFC-12-H7

LFC-12-H4

6.5

7.5

12

3.2

4

3.2

0

12

0

2

1.4

20-50kg

LFC-12规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-100kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

Stainless Steel

350 Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

2.5-5V

非线性 Non-linearity

1.0-0.5% F.S.

1.0-0.5% F.S.

1.0-0.5% F.S.

0.1% F.S.

使用电压 Recommended Excitation

滞后 Hysteresis

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

- 20 ~ 80 ºC

120%

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

LFC-13

Ø  13

7.5

Ø  A

5

7

6.5

Ø  2

2.75

Capacity

5-30kg

A

1.5

3.0

50-100kg

LFC-13规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-100kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Stainless Steel

350 or 1000 Ω

≥5000MΩ/100VDC

3-5V

非线性 Non-linearity

0.5% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

0.5% F.S.

- 20 ~ 80ºC

重复性 Repeatability

0.5% F.S.

120%

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

07

/08

LFC-15

Ø  A

7.5

5

7

6.3

Ø  2

Ø  15

Capacity

5-20kg

A

1.5

3

SR

10

15

20

30-200kg

250-500kg

5

LFC-15规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-500kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Stainless Steel

350 or 1000 Ω

≥5000MΩ/100VDC

3-5V

非线性 Non-linearity

0.5% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

0.5% F.S.

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

LFC-19

Ø  19

Ø  D

7.5

5

B

C

Ø 2

3

Capacity

5-20kg

B

9

9

9

C

8.2

8

D

1.5

2.5

5

SR

15

30

60

30-100kg

150-500kg

8

LFC-19规格参数 Specifications

微型压式

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-500kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

Stainless Steel

350 or 1000 Ω

≥5000MΩ/100VDC

3-5V

阻抗 Impedance

绝缘电阻  Insulation

传感

器

非线性 Non-linearity

0.5% F.S.

使用电压 Recommended Excitation

滞后 Hysteresis

0.5% F.S.

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

微型

传感

器

LFC-20

Ø  F

K

E

Ø  20

Ø  D

H

I

Model

Capacity

B

11

11

5

C

D

5

SR

20

20

10

E

F

G

3.2

3

H

7.5

7.5

0

I

J

2

2

2

K

5.7

5.7

0

5-500kg

1000-2000kg

5-100kg

8.5

8.5

4.5

4-M2.5 Deep 5

4-M2.5 Deep 5

4-M2.5

16.5

16.5

16.5

5

5

0

Ø  J

LFC-20-4M-H11

6

B   C

SR

LFC-20-4M-H5

2.5

1.7

G

LFC-20规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

5-2000kg

1.0-1.5 mV/V

± 2 % F.S.

0.5% F.S.

0.5% F.S.

0.5% F.S.

0.1% F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Stainless Steel

350Ω

≥5000MΩ/100VDC

3-5V

非线性 Non-linearity

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

- 20 ~ 80 ºC

120%

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

Ø  D1

Ø  D3±0.05

LFC-3M-XX

E

3-M Dep6

Ø  D2

A

B

Ø  C

H1 H2

D

Model

Capacity

50-500N

100-500N

1-10KN

D1

20

25

32

38

51

D2

2.5

5

D3

15.5

19

H1

12

16

16

16

26

H2

10

SR

10

10

16

50

30

A

B

5

C

2

3

3

3

4

D

4.5

6

E

5.7

10

M

LFC-3M-20

LFC-3M-25

LFC-3M-32

LFC-3M-38

LFC-3M-51

7.5

13

13

13

14

M3

M4

M5

M5

M8

13.5

13.5

14

9

8

25.4

30

9

5.3

5.2

12

10

20-50KN

60-120KN

11

16

9

10

LFC-3M-XX规格参数 Specifications

41

22

14

15.7

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-120KN

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

Stainless Steel

350 or 700Ω

≥5000MΩ/100VDC

5-10V

阻抗 Impedance

绝缘电阻  Insulation

非线性 Non-linearity

0.5% F.S.

使用电压 Recommended Excitation

滞后 Hysteresis

0.5% F.S.

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

- 20 ~ 80ºC

120%

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Resistance to bend cable Ø 2-4 x 3m

09

/10

LFC-22

2-M2.5

5

19

Ø  14

Ø  22

LFC-22规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~10,20,30,50kg

1.5 ± 10 % mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

Stainless Steel

700 Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

2.5-5V

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

滞后 Hysteresis

0.1% F.S.

- 20 ~ 80ºC

120%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Resistance to bend cable Ø 3 x 3m

LF-305

ØA

ØB

H

5

Ø2

2.8

量程 Capacity

10,15,2,25KN

30,50,75KN

100,150KN

ØA

ØB

H

SR

101

101

127

15.9

22.4

31.8

13.4

20.4

28.9

16.81

22.4

28.9

LFC-305规格参数 Specifications

微型压式

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-150KN

1.5-2.0 mV/V

± 2 % F.S.

材质 Material

Stainless Steel

350Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

传感

器

非线性 Non-linearity

1.0% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

1.0% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

1.0% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 2 x 3m

微型

传感

器

LFC-40

Ø  12

14

Ø  5

8

Ø  40

14

LFC-40规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~50,100,300,500,1000,2000Kg

1.5± 10 % mV/V

± 2 % F.S.

材质 Material

Stainless Steel

750Ω

阻抗 Input Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.5% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.5% F.S.

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 5x 3m

Ø  D

LFC-50

14

Ø  4

B

C

9.5

14

Ø  A

Ø  42

4-M5deep8

C

Capacity

A

B

D

SR

85

0.5,1,2,3,5,10,20KN

30,50KN

50

51

25

25

21

21

13

16

LFC-50规格参数 Specifications

100

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-50KN

材质 Material

Stainless Steel

700Ω

1.5±10% mV/V

± 2 % F.S.

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.1~0.5% F.S.

0.1~0.5% F.S.

0.1~0.5% F.S.

0.05% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

- 20 ~ 80 ºC

120%

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 4 x 3m

11

/12

LFT-13A

Ø  6

Ø  4

10

8

7

7.5

18

Ø  3

3.8

Ø  13

6

LFT-13A规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~5,10,20,30,50kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

Stainless Steel

350 or 1000 Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

非线性 Non-linearity

0.5-1.0% F.S.

0.5-1.0% F.S.

0.5-1.0% F.S.

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

2.5-5V

滞后 Hysteresis

- 20 ~ 80 ºC

重复性 Repeatability

120%

200%

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

0.1% F.S. / 10ºC

0.1% F.S. / 10ºC

Resistance to bend cable Ø 3x 3m

Ø  15

LFT-20

7

7.5

3-M 3deep3

Ø  10

Ø  5

5

10

17

6

Ø  3

7

3.5

Ø  20

LFT-20规格参数 Specifications

微型压式

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~5,10,20,30,50kg

1.0-1.5 mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

Stainless Steel

350 or 1000 Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

传感

器

非线性 Non-linearity

0.5% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

滞后 Hysteresis

0.5% F.S.

- 20 ~ 80ºC

120%

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

150%

0.1% F.S. / 10ºC

0.1% F.S. / 10ºC

Resistance to bend cable Ø 3 x 3m

微型

传感

器

LFC-2B

4-M-6H

Ø  D

14

B

Ø  5

C

15.7

E

Ø  A

F

Capacity

A

B

C

D

E

F

K

M

0.25,0.5,1,2,3,5,10t

15,20t

80

44

48

54

80

32

36

40

62

22

28

35

60

14

14

14

26

14

14

14

14

68

80

M8

100

126

165

M8

30t

101

136

M10

M12

50,75,100t

LFC-2B规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~100t

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Stainless Steel

700Ω

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

滞后 Hysteresis

0.1% F.S.

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 5x 3m

LFB

Ø9.8

Ø  4

13.5

7

11

30

12.5

4-Ø  5.2

57*57

70*70

LFB规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

精度 Accuracy

0~100,200,300,400,500lb

1.5±10% mV/V  0-5V,0-10V 4-20mA

0.5%,0.25%,0.1%

材质 Material

铝 Aluminum

0.1% F.S.

重复性 Repeatability

绝缘电阻  Insulation

≥5000MΩ/100VDC

- 20 ~ 80ºC

120%

供电电压 Power Supply

9-12VDC

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S./10ºC

0.1% F.S./10ºC

电缆线规格 Cable Specifications

Power + :红 Red;  Output:绿 Green

Resistance to bend cable Ø 4 x 3m

输出 output:1.5-8mA

输出 output:0-5V

电缆线连接方式 Wire Connection

Power+ : 红 Red；EX-: 黑 Black；Output: 绿 Green

输出 output:1.5mV/V

Power+ : 红 Red；EX-: 黑 Black；Output +: 绿 Green；Output -: 白 White

13

/14

拉杆式拉压传感器

Screw Type Tension & Compression Force Sensor

拉杆

式拉压

感器

拉杆式拉压传感器

传感器接线示意图  Wire Connection

1、结构特点：拉杆式结构；易于安装。

2、特点：结构紧凑，小巧，精度高；适合于安装空间有限的设备上的力

值检测、控制。

激励+( 红)  Exc+(Red)

信号+( 绿)  Sig+(Green)

3、动态响应频率≤200Hz。

Screw Type Tension & Compression  force

sensor

激励-( 黑)  Exc-(Black)

信号-( 白)  Sig-(White)

1、Screwed Type Force Sensor

2、Features: compact structure,small volume , high accuracy,

suitable for force measurement and control in small space.

3、Dynamic Response Frequency ≤200Hz.

屏蔽线Shield

应用领域 Application

1、消费类电子和电子行业

屏幕压装、电池压装、功能键- HOME 键等装配,  密封性能检测、按

键检测等力值检测和控制; 插拔力、簧片张力及装配应力、焊接的力

值检测。

1、Consumer electronics and electronic industries:

Force  measurement    and control   in  production   of  screen

mounting,   battery   mounting,   function   key assembly   (like

HOME  button  etc),  seal  performance   testing,  key  testing.

Force measurement of insertion force,  strip tension, pressure

equipment, welding and assembly stress strength testing, etc.

2、医疗行业

3、机器人

注液泵的力值检测和控制，医疗

床等行业

机器人手指抓取力值的检测和控

制，压入力的检测和控制

2、Medical Industries

Force measurement and

control of Injection bump, and

medical bed.

3、Robots

Grasping force measurement

and control of robot fingers,

compression or tension,

press in force measurement

and control.

4、汽车

5、纺织、造纸、线张力的检测

装配力值检测、压入力值检测。

4、Auto Industry

5、Tension Test of Textile,

papermaking, wire.

Assembling force, press-in

force, polishing and welding

force measurement and

control.

15

/16

LFT-13B

LFT-13D

Ø  13±0.05

Ø  6

Ø  2

M4

6

8

10

5

Ø  2

10

33

8

31

Ø  13

6

10

8

M4

10

8

Ø  6

2-M8

LFT-13B规格参数 Specifications

LFT-13D规格参数 Specifications

量

Capacity

程

0~5,10,20,

30,50kg

零点温度漂移

Temp Effect on Zero

量

Capacity

程

零点温度漂移

Temp Effect on Zero

0.1% F.S. / 10ºC

0~200,300,500kg

Stainless Steel

1.0-1.5 mV/V

± 2 % F.S.

0.1% F.S. / 10ºC

材质

Material

阻抗

Impedance

材质

Material

阻抗

Impedance

Stainless Steel

1.0-1.5 mV/V

± 2 % F.S.

1.0% F.S.

350 Ω

350 Ω

输出灵敏度

Rated Output

绝缘电阻

Insulation

≥5000MΩ/

100VDC

输出灵敏度

Rated Output

绝缘电阻

Insulation

≥5000MΩ/

100VDC

零点输出

Zero Balance

使用电压

Recommended Excitation

零点输出

Zero Balance

使用电压

Recommended Excitation

3-5V

3-5V

非线性

Non-linearity

工作温度范围

Operating Temp  Range

非线性

Non-linearity

工作温度范围

Operating Temp  Range

- 20 ~ 80 ºC

120%

1.0% F.S.

- 20 ~ 80 ºC

120%

滞后

Hysteresis

安全过载

Safe Overload

滞后

Hysteresis

安全过载

Safe Overload

1.0% F.S.

1.0% F.S.

重复性

Repeatability

极限过载

Maximum Overload

重复性

Repeatability

极限过载

Maximum Overload

1.0% F.S.

200%

1.0% F.S.

200%

蠕变 (30分钟）

Creep (30min)

电缆线规格

Cable Specifications

Resistance to bend

cable  Ø  2 x 3m

蠕变 (30分钟）

Creep (30min)

电缆线规格

Cable Specifications

Resistance to bend

cable  Ø  2 x 3m

0.1% F.S.

0.1% F.S.

温度灵敏度漂移

Temp Effect on Output

温度灵敏度漂移

Temp Effect on Output

0.1% F.S. / 10ºC

TEDS 可选

0.1% F.S. / 10ºC

TEDS 可选

LFT-13C

LFT-13C规格参数 Specifications

量程 Capacity

0~5,10,20,30,50,100kg

Stainless Steel

1.0-1.5 mV/V

± 2 % F.S.

1.0~5.0% F.S.

1.0% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

Ø  2

滞后 Hysteresis

重复性 Repeatability

1.0% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

10

8

0.1% F.S. / 10ºC

0.1% F.S. / 10ºC

350 Ω

Ø  13

拉杆

33

绝缘电阻  Insulation

≥5000MΩ/100VDC

3-5V

式拉压传

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

120%

15

13

感器

200%

Resistance to bend

cable  Ø  2 x 3m

2-M 6

拉杆

式拉压

感器

LFT-25

LFT-25规格参数 Specifications

量程 Capacity

0-100kg

材质 Material

Stainless Steel/Aluminum

2.0±10%mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.1~0.5% F.S.

0.1~0.5% F.S.

0.1~0.5% F.S.

0.05% F.S.

滞后 Hysteresis

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

Ø  25.4

Ø  B

A

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

700Ω

I

J

C

Ø  L

G

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

F

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

K

- 20 ~ 80ºC

120%

D

E

A

Ø  H

150%

Capacity

1-3kg

A

B

0

C

D

E

F

G

0

1

1

H

I

J

5

9

9

K

L

3

3

3

Materials

Aluminum

Ø 3 x 3m

M3

M5

M6

8.5

9.5

7.5

31

37

37

10

10

10

7

5.7

10

10

5-50kg

6.6

6.6

11.5

11.5

12.5

12.5

10.5

10.5

13

13

Stainless steel

Stainless steel

60-100kg

LFT-25M

LFT-25M规格参数 Specifications

量程 Capacity

0-100kg

材质 Material

Stainless Steel

2.0±10%mV/V

± 2 % F.S.

0.1~0.5% F.S.

0.1~0.5% F.S.

0.1~0.5% F.S.

0.05% F.S.

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

700Ω

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

Ø  18

M5

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

2

3

- 20 ~ 80ºC

120%

35

12

8

9

150%

Ø 3 x 3m

Ø  18

Ø 25.4

20.5

17

/18

LFT-34

LFT-34规格参数 Specifications

量程 Capacity

0-1000kg

材质 Material

Stainless Steel

1.5-2.0mV/V

± 2 % F.S.

0.5% F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

Ø  34

Ø  D

Capacity

50-500kg

1000kg

M

M8

D

2-M

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

12

13

M12×1.75

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

12

18

- 20 ~ 80 ºC

120%

3

14

Ø  4

52

32

150%

4

11.5

14

Ø  4 x 3m

14

LFT-51K

LFT-51K规格参数 Specifications

量程 Capacity

0-20KN

材质 Material

Stainless Steel

1.5~2.0 mV/V

± 2 % F.S.

0.5% F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

Ø  51±0.05

Ø  13

拉杆

M12

绝缘电阻  Insulation

式拉压传使用电压 Recommended Excitation

≥5000MΩ/100VDC

5-10V

19

15.7

14

Ø  5

工作温度范围 Operating Temp  Range

- 20 ~ 80 ºC

120%

70

34

安全过载 Safe Overload

感器

14

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

16.5

Ø  5 x 3m

M12

Ø  26

拉杆

式拉压

感器

LFT-51L

LFT-51L规格参数 Specifications

量程 Capacity

0-2000kg

材质 Material

Stainless Steel

1.5~2.0 mV/V

± 2 % F.S.

0.5% F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.5% F.S.

0.05% F.S. / 10ºC

0.05 % F.S. / 10ºC

700Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

Ø  13

4-M5deep8

M12

- 20 ~ 80ºC

120%

14

15.7

14

150%

Ø  4

Ø 4 x 3m

Ø 42

Ø  51±0.05

7.5

LFT-F05

LFT-F05规格参数 Specifications

量程 Capacity

0-30KN

材质 Material

Stainless Steel

2.0± 10% mV/V

± 2 % F.S.

0.2~0.5% F.S.

0.1% F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

1000Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

M12*1

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

3.8

10

Ø 27.5

- 20 ~ 80ºC

150%

300%

5 Pin connetor

2

34

40

108

19

/20

S型拉压传感器

S Type Force Sensor

型拉

微型S性结构传感器

传感器接线示意图  Wire Connection

1、结构特点：“S”型结构；

激励+( 红)  Exc+(Red)

2、特点：结构紧凑，小巧，精度高；适合于安装空间有限的设备上的力

值检测、控制。

信号+( 绿)  Sig+(Green)

3、动态响应频率：<900Hz（LFS-02）

<500Hz（LFS-01,LFS-01A,LFS-01B）

<100Hz（LFS-05,LFS-06,LFS- 07,LFS-08,）

激励-( 黑)  Exc-(Black)

信号-( 白)  Sig-(White)

Minimum S type force sensor

1、Structure Features: S type

2、Features: compact structure, small volume , high accuracy,

suitable for force measurement and control in small space.

3、Dynamic Response Frequency:

屏蔽线Shield

<900Hz（LFS-02）

<500Hz（LFS-01,LFS-01A,LFS-01B）

<100Hz（LFS-05,LFS-06,LFS- 07,LFS-08,）

应用领域 Application

1、消费类电子和电子行业

2、医疗行业

屏幕压装、电池压装、功能键- HOME 键等装配, 密封性能检测、按键检测等力值检测和控制;

插拔力、簧片张力及装配应力、焊接的力值检测。

注液泵的力值检测和控制，医疗床等行业

1、Consumer electronics and electronic industries:

2、Medical Industries

Force measurement  and control in production  of screen mounting,  battery mount-

ing, function  key assembly  (like HOME  button etc),  seal performance  testing,  key

testing. Force  measurement  of insertion force,  strip tension,  pressure  equipment,

welding and assembly stress strength testing, etc.

Force measurement and control of

Injection bump, and medical bed.

3、机器人

4、汽车

5、纺织、造纸、线张力的检测

机器人手指抓取力值的检测和控制，压入力

的检测和控制

装配力值检测、压入力值检测。

3、Robots

4、Auto Industry

5、Tension Test of Textile, papermak-

ing, wire.

Grasping force measurement and

control of robot fingers, compression or

tension, press in force measurement

and control.

Assembling force, press-in force,

polishing and welding force measure-

ment and control.

21

/22

LFS-01

25

2-M8

12

9

13

Ø  3

35

LFS-01规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~5,10,20,30,50,100kg

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Stainless Steel

350 Ω

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.05% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.05% F.S.

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø  3 x 3m

LFS-01A

34

25

5

30

18

2-M6

5.7

13

10

LFS-01A规格参数 Specifications

型拉压传感器

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~1,2,3,5,10,15,20,30kg

2.0±10% mV/V

± 2 % F.S.

材质 Material

Aluminum

350 Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.05% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe overload

滞后 Hysteresis

0.05% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

500%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Resistance to bend cable Ø 3 x 3m

型拉

LFS-01B

M5接插件

25

25

30

H+3.2

H

26.5

32.5

Capacity

H

0/1/2/3/5/10/20/30kg

50/100kg

10

12

LFS-01B规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~1,2,3,5,10,15,20,30,50,100kg

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Stainless Steel

350 Ω

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.05% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.05% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

500%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø  3 x 3m

LFS-02

Ø  2

6

Ø  2

25

A±0.05

E±0.1

C

D

A±0.05

2-M-6H

C

2-M3deep3

Capacity

2.5/5/10/30N

50N

A

B

C

5

M

D

E

Note

Capacity

100-500N

200N-2KN

A

B

C

M

16

16

19.1

19.1

M3

M4

6.7

7.5

16.5

16.5

16

26

19.1

40

6

M4

M8

With

Cover

LFS-02规格参数 Specifications

6

12

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~2000N

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Aluminum or Stainless Steel

350

≥5000MΩ/100VDC

3-5V

非线性 Non-linearity

0.05% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.05% F.S.

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

500%

0.1% F.S. / 10ºC

0.1 % F.S. / 10ºC

Resistance to bend cable Ø 2 x 3m

23

/24

LFS-05

B±0.1

C

11

Ø  4

13.5

13

2-M

D

Capacity

A

B

C

D

M

2,5,6,10,20kg

30,50,100,200kg

63.5

76.2

50.8

50.8

12.7

25.4

17.0

1/4-28-UNF-3B M6x1-6H OR M8

30.0

1/2-20-UNF-3B  M12x1.75-6H

LFS-05规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-200kg

2.0±10%mV/V

± 2 % F.S.

材质 Material

Aluminum

350Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.03% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.03% F.S.

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.03% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.03% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø  4 x 3m

LFS-06

D

C

B

E

A

14

Capacity

A

B

C

D

M

10/20/30/50/75kg

63.5

76.2

76.2

108

50.8

50.8

50.8

76.2

12.7

19.1

25.4

25.4

19.1

25.4

25.4

25.4

M8x1.25（1/4-28）

M12x1.75（1/2-20）

M12x1.75（1/2-20）

M18x1.5（3/4-16）

100/200/250/300/500kg

750/1000/1500/2000kg

2500/3000/5000kg

LFS-06规格参数 Specifications

型拉压传感器

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-5000kg

2.0/3.0±10%mV/V

± 2 % F.S.

材质 Material

Alloy Steel / Stainless Steel

350Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.03% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.03% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.03% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.03% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

0.05% F.S. / 10ºC

0.05 % F.S. / 10ºC

Ø 5 x 3m

型拉

LFS-07

A

41.7

B

Ø 5

13.7

C

2-M-6H

Capacity

A

52.5

71

B

C

M

50-500KG

59.5

78

22

30

45

50

M12

1000-2500KG

3000-5000KG

7500,10000KG

M16*2

M30*2

M30*2

91

90

157

163

LFS-07规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-10t

材质 Material

Stainless Steel

350Ω

2.0± 10%mV/V

± 2 % F.S.

阻抗 Impedance

绝缘电阻  Insulation

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

≥5000MΩ/100VDC

10-15V

非线性 Non-linearity

0.03% F.S.

滞后 Hysteresis

0.03% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.03% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.03% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø  5 x 3m

LFS-08

A

B

2-M

13.7

41.7

Ø 5

C

Capacity

Size

B

Thread

kg

A

C

80

mm

inch

100-750

1000-1500

2000-5000

10000

70

19

25

25

51

60

M10*1.5

1/2-20

1/2-20

3/4-16

11/4-12

11/4-12

70

80

M12*1.75

M18*1.5

M30*2

108

178

190

92

130

160

LFS-08规格参数 Specifications

20000

M39*2

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-20t

材质 Material

Alloy Steel/Stainless Steel

350Ω

2.0/3.0± 10%mV/V

± 2 % F.S.

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.03% F.S.

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range

安全过载 Safe overload

滞后 Hysteresis

0.03% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.03% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.03% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

300%

0.05% F.S. / 10ºC

0.05 % F.S. / 10ºC

Ø 5 x 3m

25

/26

环形传感器

Ring Shaped Force Sensor

环形

传

感

器

环形结构传感器、轮辐式结构

1、结构特点：环形中空型结构

2、特点：轮辐式或变截面膜盒式结构，结构紧凑、小巧，中心通孔或螺纹，可以直接连接丝杆

或者受力杆，抗偏载能力强，精度高；适合于安装空间有限的设备上的力值检测、控制。

3、动态响应频率小于300Hz

Ring type and wheel type force sensor

1、Structure features: Ring type, hollow structure

2、Features: compact structure, small volume, Centre hole or thread, can directly

connect the screw or  force-bearing bars, Strong anti side load , high accuracy,

suitable for force measurement and control in small space.

3、Dynamic Response Frequency: less than 300Hz

传感器接线示意图  Wire Connection

激励+( 红)  Exc+(Red)

信号+( 绿)  Sig+(Green)

激励-( 黑)  Exc-(Black)

信号-( 白)  Sig-(White)

屏蔽线Shield

应用领域 Application

2、医疗行业

注液泵的力值检测和控制，张力检测

2、Medical Industries

Force measurement and control of

Injection bump, and medical bed.

1、消费类电子和电子行业

3、机器人

屏幕压装、电池压装、功能键- HOME 键

等装配, 密封性能检测、按键检测等力值检

测和控制 ; 插拔力、簧片张力及装配应力、

焊接的力值检测。

机器人手指抓取力值的检测和控制，压

入力的检测和控制

3、Robots

Grasping force measurement and

control of robot fingers, compres-

sion or tension, press in force

measurement and control.

1、Consumer  electronics   and  elec-

tronic industries:

Force  measurement    and  control  in

production  of  screen mounting,   bat-

tery mounting,  function  key assembly

(like  HOME button  etc),  seal perfor-

mance   testing,   key  testing.    Force

measurement  of insertion  force,  strip

tension, pressure  equipment, welding

and assembly  stress strength testing,

etc.

4、汽车

装配力值检测、压入力值检测。

4、Auto Industry

Assembling force, press-in force,

polishing and welding force

measurement and control.

27

/28

LFE-02

LFE-02规格参数 Specifications

量程 Capacity

0~5,10,20,30,50kg

Stainless Steel

1.5±10% mV/V

± 2 % F.S.

1.0% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

1.0% F.S.

重复性 Repeatability

1.0% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.1% F.S. / 10℃

0.1% F.S. / 10℃

350 or 700 Ω

≥5000MΩ/100VDC

2.5-5V

绝缘电阻  Insulation

Ø  19

Ø  11.7

Ø  D

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ℃

120%

5.8

200%

3.1

Ø  22.6

Ø  24.9

0.3

Ø  2 x 3m

30.2

D=Ø 8.18 or custom

LFE-04

LFE-04规格参数 Specifications

量程 Capacity

0~5,10,20,30,50kg

Stainless Steel

1.5±10% mV/V

± 2 % F.S.

1.0% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

1.0% F.S.

重复性 Repeatability

1.0% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.1% F.S. / 10℃

0.1 % F.S. / 10℃

350 or 700 Ω

≥5000MΩ/100VDC

2.5-5V

环形

传

感

器

Ø  8.6

绝缘电阻  Insulation

Ø 6.5

15.5

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

120%

3.8

Ø  15.6

Ø  18

200%

Ø  2 x 3m

环形

传

感

器

LFE-05

LFE-05规格参数 Specifications

量程 Capacity

0~5,10,20,30,50kg

Stainless Steel

1.5±10% mV/V

± 2 % F.S.

1.0% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

1.0% F.S.

重复性 Repeatability

1.0% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.1% F.S. / 10ºC

0.1% F.S. / 10ºC

350 or 700 Ω

≥5000MΩ/100VDC

2.5-5V

绝缘电阻  Insulation

Ø  10.6

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

Ø 8.5

16.5

- 20 ~ 80 ºC

120%

200%

Ø  17.6

Ø  20

Ø  2 x 3m

LFC-34

Ø  A

Ø  B

Ø  C

LFC-34规格参数 Specifications

量程 Capacity

0~45t

G

D

E

材质 Material

Stainless Steel

1.0-1.5 mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

Ø  3

1.0~3.0% F.S.

1.0~3.0% F.S.

1.0~3.0% F.S.

0.05% F.S.

9

13

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

F

温度灵敏度漂移Temp Effect on Output      0.05% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S. / 10ºC

700 Ω

A/2+15

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range     - 20 ~ 80 ºC

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

Capacity

0.3/0.5/1/2t

2.5/3/3.5/4t

5/10/15/20t

10/20/30/45t

A

B

C

16

D

E

F

G

11.5

11.5

30

150%

34

50

69

95

24

32

54

78

15

20

50

50

14

19

49

49

24

24

50

50

Ø  3 x 3m

20.5

32

50

30

29

/30

LFC-68

LFC-68规格参数 Specifications

量程 Capacity

0~0.2,0.3,0.5,1,2t

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

0.05~0.1% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

10V

Ø  68

Ø 22

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

M16*1.5

- 20 ~ 80 ºC

150%

7

25

22

200%

11

Ø  4 x 3m

0.5

LFC-105

LFC-105规格参数 Specifications

量程 Capacity

0~0.5,1,2,3,5t

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

0.1% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.1% F.S.

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

环形

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

传

感

器

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

Ø  105

- 20 ~ 80 ºC

150%

Ø  55(0/-0.1)

M45*1.5

13

200%

19

17

Ø  4

Ø  4 x 3m

37

8-Ø  8通孔

Ø  93

环形

传

感

器

LFC-120

LFC-120规格参数 Specifications

量程 Capacity

0~0.5,1,2,3,5t

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

0.1% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.1% F.S.

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.1% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

Ø103

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

6-Ø6uniform

distribution

Ø120

Ø88

Ø70

- 20 ~ 80 ºC

150%

Ø60

Ø50

200%

Ø  4

7.5

Ø  4 x 3m

37

6-Ø6.8 uniform

distribution

Ø11 deep6.8

LFC-80

LFC-80规格参数 Specifications

量程 Capacity

0~0.5,1,2,3,5t

Stainless Steel

1.5~2.0 mV/V

± 2 % F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.5% F.S.

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

Ø  80

- 20 ~ 80 ºC

150%

Ø  38

M30*1.5

200%

14

4-M6-6H

Ø  4

Ø  4  x 3m

11

Ø  68

1

14

31

/32

LFC-2

LFC-2规格参数 Specifications

量程 Capacity

0-10a0t

材质 Material

Stainless Steel/Alloy Steel

2.0 ±10%mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.05% F.S.

0.05% F.S.

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

0.05% F.S.

温度灵敏度漂移Temp Effect on Output    0.05% F.S. / 10ºC

ØC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S. / 10ºC

700Ω

Ø  A

Ø  F

8-Ø  d

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

41.7

使用电压 Recommended Excitation

M

Ø5

工作温度范围 Operating Temp  Range    - 20 ~ 80 ºC

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

Capacity（t）

0.5,1,2,3,5,7t

10,15,20,25t

30,45,50t

A

B

B1

34

46

54

78

C

d

F

M

150%

105

125

145

205

37

56

58

85

89

6.5

8.6

32

39

50

80

M16X1.5

M30X1.5

M40X1.5

M60X2

Ø  5  x 3m

101.8

116.8

162

10.5

12.5

60,75,100t

LFC-2A

LFC-2A规格参数 Specifications

量程 Capacity

0-20t

材质 Material

Stainless Steel/Alloy Steel

2.0 ±10%mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.05% F.S.

0.05% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

0.05% F.S.

0.05% F.S.

温度灵敏度漂移Temp Effect on Output    0.05% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S. / 10ºC

700Ω

型拉压传感器

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range    - 20 ~ 80 ºC

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

150%

Capacity（t）

1,2,3,5t

5,7 t

A

B

C

D

9

M

118

120

138

186

46

40

60

70

100

102

116

154

M24X2

M32X1.5

M39X2

M50X2

Ø  5 x 3m

10.5

11

14

10t

15,20t

环形

传

感

器

LFC-181

LFC-181规格参数 Specifications

量程 Capacity

0-10,15,20,34t

材质 Material

Stainless Steel/Alloy Steel

1.0± 10% mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.5% F.S.

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

10-15V

8-Ø9

Ø  100

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

+0.035

Ø  63+0.02

Ø  40

- 20 ~ 80 ºC

120%

10

30

24

68

200%

Ø  5 x 3m

Ø138±0.1

Ø181±0.2

213

LFC-112

LFC-112规格参数 Specifications

量程 Capacity

0-20,30,50KN

材质 Material

Stainless Steel/Alloy Steel

1.5 ±10%mV/V

2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.1~0.05 % F.S.

0.1~0.05 % F.S.

0.1~0.05 % F.S.

0.05% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output    0.05% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S. / 10ºC

750 ± 5Ω

Ø 112

绝缘电阻  Insulation

≥5000MΩ

3-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range    - 20 ~ 80 ºC

16

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

200%

Ø  5  x 3m

33

/34

柱式传感器

Column Force Sensor

柱式

柱式结构传感器

Column Type force sensor

1、结构特点：柱式或筒式型结构

2、特点：结构紧凑，强度高，动态响应高

3、动态响应频率小于2000Hz

1、Structure features: column  or cylinder type

2、Features: compact structure, high strength

3、Dynamic response frequency: less than 2000Hz

传感器接线示意图  Wire Connection

激励+( 红)  Exc+(Red)

信号+( 绿)  Sig+(Green)

激励-( 黑)  Exc-(Black)

信号-( 白)  Sig-(White)

屏蔽线Shield

应用领域 Application

1、注塑和模具行业

合模力值的检测和控制，装配力值检测，装配间隙和压入

力值检测和控制

1、Injection molding and mold industry:

Clamping force measurement and control, Press-in

force and assembling gap detection and control

2、机器人

机器人手指抓取力值的检测和控制，压入、拉压力的检测

和控制

2、Robots

Grasping force measurement and control of robot

fingers, compression or tension, press in force

measurement and control.

3、汽车

装配力值检测、压入力值检测

3、Auto Industry

Assembling force, press-in force, polishing and

welding force measurement and control.

35

/36

LF-601

LF-601规格参数 Specifications

量程 Capacity

Ø  A

Ø  B

0~0.2,0.5,1,3,5,10t

Stainless Steel

1.0±10% mV/V

± 2 % F.S.

0.5% F.S.

材质 Material

G

Ø  C

Ø  D

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

I

L

M

H

Ø  E

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

J

K

P

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700 Ω

Ø  F

Ø  A

Ø  O

绝缘电阻  Insulation

≥5000MΩ/100VDC

10V

N

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

120%

200%

Model

Capacity

A

B

C

D

E

F

G

H

I

J

K

5

6

5

L

M

N

O

5

P

4

8

4

Q

Ø  5 x 3m

LF601-H76

5t

0.2-10t

3t

60

60

60

18

18

18

30

40

28

40

50

40

11

11

11

16

20

20

10

10

10

76

80

80

60

56

64

11

15

11

14

14

14

14

14

14

15.7

15.7

15.7

38

50

38

LF601-H80-01

LF601-H80-02

5

5

LF-602

LF-602规格参数 Specifications

量程 Capacity

0~3000kg

材质 Material

Aluminum/Alloy Steel

2.0±10% mV/V

± 2 % F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350 Ω

C

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

14

A

滞后 Hysteresis

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

Ø  Y

Ø  X

D

柱式传感器

阻抗 Impedance

Ø  E

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

F

- 20 ~ 80 ºC

120%

Ø  5

15.7

200%

Ø  5 x 3m

Model

A

B

C

D

E

F

X

Y

50/100/150/200/500kg

1000/2000/3000kg

80

37.5

45

M10*1.5-6H

M20*1.5-6H

74

74

20

36

17

30

60

60

40

40

120

柱式

LF-602A

LF-602A规格参数 Specifications

量程 Capacity

0~5,10,20,30kg

Aluminum

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

2.0±10% mV/V

± 2 % F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350 Ω

滞后 Hysteresis

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

Ø  11

2-M8deep9

4

绝缘电阻  Insulation

≥5000MΩ/100VDC

10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

120%

Ø  4

150%

40

Ø  4 x 3m

Ø  10

Ø  55

LF-603

LF-603规格参数 Specifications

量程 Capacity

0~100KN

材质 Material

Stainless Steel

1.0-1.5 mV/V

± 2 % F.S.

0.1-0.5% F.S.

0.1-0.5% F.S.

0.1-0.5% F.S.

0.1% F.S.

Ø  A

Ø  C

1.5

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

D

G

Z

滞后 Hysteresis

3

F

E

重复性 Repeatability

Ø  M

Ø  H

Ø  C

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

Ø  K

Ø  B

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

700 Ω

X

Ø  I

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

Y

- 20 ~ 80 ºC

200%

300%

Ø  3(5)  x 3m

Model

A

B

C

D

E

5

F

G

H

K

X

Y

I

J

9

Z

9

M

0.5-10KN

20-100KN

54

95

50

90

34

55

8.5

15

13

20

47

72

5.5

11

42

70

10

13

14

3

5

8-M5

5.5

15.7

10.5

14

16-M10

37

/38

LF-605

LF-605规格参数 Specifications

量程 Capacity

0~1000kg

材质 Material

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

0.1% F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.1% F.S.

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

Ø  41.2

Ø  35.8

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

Ø  6.35

- 20 ~ 80 ºC

150%

4

300%

Ø  3 x 3m

8-M4深5

Ø  25.4

Ø  35.8

LF-605A

LF-605A规格参数 Specifications

量程 Capacity

0~1,2,5,10,20,50,100kg

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.05% F.S.

滞后 Hysteresis

0.05% F.S.

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350Ω

柱式传感器

阻抗 Impedance

Ø  20

Ø  16

绝缘电阻  Insulation

≥5000MΩ/100VDC

3-5V

M3深3

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

2

- 20 ~ 80 ºC

150%

7

Ø  3

6

22

300%

7.5

Ø  3 x 3m

2

M3深3

Ø  16

柱式

LF-605B

LF-605B规格参数 Specifications

量程 Capacity

0~5,10,20,30,50,100kg

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.05% F.S.

滞后 Hysteresis

0.05% F.S.

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

10

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350Ω

13

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

Ø  31

Ø  6

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

4

- 20 ~ 80 ºC

150%

Ø  18

9

Ø  3

38 35

300%

18

Ø  3 x 3m

Ø 38

8-M4深5

LF-605C

LF-605C规格参数 Specifications

量程 Capacity

0~1,2,3,5,10,15,20kg

Stainless Steel

2.0±10% mV/V

± 2 % F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

Ø9,8

3-M 2-6H深2.5

0.05~0.1% F.S.

0.05% F.S.

滞后 Hysteresis

7

重复性 Repeatability

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

7.5

0.1% F.S. / 10ºC

0.1% F.S. / 10ºC

350Ω

Ø15

Ø13

M3深3

绝缘电阻  Insulation

≥5000MΩ/100VDC

3-5V

2

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

6

Ø  3

- 20 ~ 80 ºC

120%

22

2

200%

Ø  3  x 3m

Ø13

39

/40

LF-605D

LF-605D规格参数 Specifications

量程 Capacity

0~50,100,200,300,500,1000kg

材质 Material

Stainless Steel/Alloy Steel

2.0 ±10%mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

0.1% F.S.

0.1% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

0.1% F.S.

0.1% F.S.

温度灵敏度漂移Temp Effect on Output    0.05% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S. / 10ºC

1400Ω

Ø  80

Ø  74

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range   - 20 ~ 80 ºC

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

200%

Ø  3 x 3m

LF-609

LF-609规格参数 Specifications

量程 Capacity

0-0.5,1,2,3,5,10t

材质 Material

Stainless Steel/Alloy Steel

1.0~1.5mV/V

± 2 % F.S.

Ø44

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

Ø  5

0.5% F.S.

0.5% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

0.5% F.S.

8-M5deep8

0.5% F.S.

Ø62

Ø55

温度灵敏度漂移Temp Effect on Output     0.05% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

0.05% F.S. / 10ºC

700Ω

18

柱式传感器

阻抗 Impedance

2

40

绝缘电阻  Insulation

≥5000MΩ/100VDC

10-15V

使用电压 Recommended Excitation

70

工作温度范围 Operating Temp  Range     - 20 ~ 80 ºC

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

150%

2

Ø18

Ø55

Ø  5 x 3m

柱式

LF-611

LF-611规格参数 Specifications

量程 Capacity

0-0.5,1,2,3,5,10,20,30,50kg

材质 Material

Aluminum

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

2.0± 10% mV/V

± 2 % F.S.

0.05-0.1% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350Ω

滞后 Hysteresis

Ø  35

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

2

绝缘电阻  Insulation

≥5000MΩ/100VDC

3-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

150%

300%

2

6

Ø  3 x 3m

Ø  6

Ø  21

Ø  30

LF-610

LF-610规格参数 Specifications

量程 Capacity

0-2,3,5,10,20,30,50KN

Stainless Steel

1.0± 10% mV/V

0.5% F.S.

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.1% F.S.

滞后 Hysteresis

± 2% F.S.

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S./30min

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

≥5000MΩ

Ø38

Ø33

绝缘电阻  Insulation

10VDC

Ø24

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

150%

Ø10

300%

8-M 4 DEEP 8

Ø  3 x 3m

Ø34

41

/42

轴销类传感器

Load Pin

轴销

类传

器

LF-39

LF-39规格参数 Specifications

量程 Capacity

0~2,3,5,7,10,20,30,40,50,100t

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

1.0 ±10%mV/V

± 2 % F.S.

0.5% F.S.

0.5% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

0.5% F.S.

0.5% F.S.

温度灵敏度漂移Temp Effect on Output   0.05% F.S. / 10ºC

B

零点温度漂移 Temp Effect on Zero

材质 Material

0.05% F.S. / 10ºC

Stainless Steel

350 or 700Ω

G±0.05

E

D±0.05

C±0.05

K

F±0.05

阻抗 Impedance

20

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

M

20

35

使用电压 Recommended Excitation

工作温度 范围 Operating Temp Range  - 20 ~ 80 ºC

安全过载 Safe overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

Capacity(t)

2/3/5

A

B

180

C

D

E

4. 5

10

10

12

14

F

6.5

9

G

H

7

K

9

M

3

5

5

6

6

50

60

66

96

27

14

14

20

25

32

33

32

40

51

300%

7/10

190

210

225

275

9

9

Ø  5 x 3m

10/15

65

116

109

153

9

9

8

20/30

80

11

13

10

15

8

40/50/100

120

12

LF-57

LF-57规格参数 Specifications

量程 Capacity

0~0.5,1,2,3,5,10,20,30,50t

1.0±10% mV/V

± 2 % F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

0.5% F.S.

Ø  Dh6

滞后 Hysteresis

0.5% F.S.

重复性 Repeatability

0.5% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

材质 Material

0.1% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Stainless steel /Alloy Steel

700 or 350Ω

阻抗 Impedance

E

绝缘电阻  Insulation

≥5000MΩ/100VDC

10-15V

使用电压 Recommended Excitation

Ø  C

工作温度 范围 Operating Temp Range     - 20 ~ 80 ºC

Capacity

0.5/1/2

3/5

A

B

φC

44

44

50

65

75

85

φD

25

35

50

65

75

85

E

4.5

6

F

安全过载 Safe overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

100%

13.5

18

31

6.5

300%

47

6.5

10

27

66

7

8.5

Ø  5 x 3m

20

32.5

40

90

9.5

10.5

12.5

8.5

30

100

117

10.5

10.5

50

49

43

/44

秤重类传感器

Load Cell

秤重

类传

器

秤重类传感器

1、结构特点：平行梁式结构；

2、特点：精度高，抗偏载能力强，量程可以做到50g 以下

3、动态响应频率小于100Hz，多用于静态测试

Single Point load cell

1、Parallel type

2、Features: high accuracy, high anti side load, capacity can be to 50g

3、Dynamic response frequency: less than 100Hz, mainly used for static force

measurement

传感器接线示意图  Wire Connection

激励+( 红)  Exc+(Red)

信号+( 绿)  Sig+(Green)

激励-( 黑)  Exc-(Black)

信号-( 白)  Sig-(White)

屏蔽线Shield

应用领域 Application

1、电子秤

电子天平、平台秤等产品

1、Electrical scales

Electrical Balance, platform scales

2、半导体行业

焊接力的测量、张力检测，装配过程检测

等力值检测和控制

2、Semi-Conductor

Tension, welding force measure-

ment, and force measurement and

control in assembling Process.

3、纺织、造纸行业

张力检测

3、Textile, papermaking.

45

/46

LFP-10

LFP-10规格参数 Specifications

量程 Capacity

0~3,5,10,15,20,30,40,50kg

材质 Material

Aluminum

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

2.0±10% mV/V

± 2 % F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output   0.025% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.025% F.S. / 10ºC

350Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

130±0.1

工作温度范围 Operating Temp  Range  - 20 ~ 80 ºC

106±0.05

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

B

Ø3

150%

Ø  3 x 45cm

4-M6

LFP-11

LFP-11规格参数 Specifications

量程 Capacity

0~0.3,0.5,0.6,1,2kg

Aluminum

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

2.0±10% mV/V

± 2 % F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.025% F.S. / 10ºC

0.025% F.S. / 10ºC

350Ω

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

秤重

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

类传感

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

- 20 ~ 80 ºC

120%

器

110

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

Ø  3 x 45cm

秤重

类传

器

LFP-12

LFP-12规格参数 Specifications

量程 Capacity

0~0.3,0.5,0.6,1,2,3,5,6,10kg

材质 Material

Aluminum

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

2.0±10% mV/V

± 2 % F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output     0.025% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.025% F.S. / 10ºC

350Ω

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range     - 20 ~ 80 ºC

4-M3通

Ø3

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

150%

Ø  3 x 45cm

6

58±0.05

70±0.05

LFP-16

LFP-16规格参数 Specifications

量程 Capacity

0~2,5,10,20,30,50kg

Aluminum

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

1.5±10% mV/V

± 2 % F.S.

0.1% F.S.

滞后 Hysteresis

0.1% F.S.

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350Ω

38.6

16.7

15.24

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

12.7

M6

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

- 20 ~ 80 ºC

120%

150%

Ø3

Ø  3 x 3m

M6

47

/48

LFP-17

LFP-17规格参数 Specifications

量程 Capacity

0~50,60,100,150,200,300,500,600,750kg

材质 Material

Aluminum

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

2.0±10% mV/V

± 2 % F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output   0.025% F.S. / 10ºC

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.025% F.S. / 10ºC

350Ω

14

14

绝缘电阻  Insulation

≥5000MΩ/100VDC

10V

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range   - 20 ~ 80 ºC

42.5

174

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

120%

19

7

19

8-M8-6H deep25

150%

Ø  5  x 3m

8

15.7

LF-51

LF-51规格参数 Specifications

量程 Capacity

0~0.1,0.2,0.5,1,2,5,7.5,10t

铝/不锈钢

Aluminum/Stainless Steel

材质 Material

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

2.0/3.0±10% mV/V

± 2 % F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.03% F.S.

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

350Ω

滞后 Hysteresis

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

2-ØG

F

秤重

48.2

H

绝缘电阻  Insulation

≥2000MΩ/100VDC

5-10V

D

类传感

使用电压 Recommended Excitation

E

M

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

- 20 ~ 80 ºC

150%

器

A

B

C

M向

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

量程Capacity

100,200,250kg

A

B

C

D

E

F

G

H

15.8

15.8

19.1

25.4

25.4

25.4

38.1

50.8

76.2

76.2

95.3

124

130

130

172

226

25.4

31.8

38.1

50.8

31.8

31.8

38.1

50.8

13.5

13.5

19.8

26.2

2

1/20UNF

M12×1.75

2  1/20UNF  M12×1.75

M20×2.5

Ø  5x 3m

500,1000,1500,2000kg

2500,5000kg

3/4-16UNF

7500,10000kg

1  1/4-12UNF  M30×2

多轴力传感器

Multi-axis Force Sensor

49

/50

LF-303B

LF-303B规格参数 Specifications

Ø  30

2-Ø 4-6H DEEP6

X:5/10/20/50kg

Y:5/10/20/50kg

Z:5/10/20/50/100kg

Ø  46

Ø  24

量程 Capacity

材质 Material

Stainless Steel

1.0±10% mV/V

± 2 % F.S.

1% F.S.

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

1% F.S.

6-M4deep7

2-M2.5deep5

重复性 Repeatability

1% F.S.

12

2-Ø4-6H DEEP4

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

0.05% F.S.

0.05% F.S. / 10℃

0.05% F.S. / 10℃

350 or 700 Ω

≥5000MΩ/100VDC

5-10V

4-M4deep7

多轴

绝缘电阻  Insulation

力

传

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

感器

52.5

- 20 ~ 80 ℃

120%

三个方向的力值耦合误差% The Coupling Error of three direction

200%

X

-

Y

± 2

-

Z

12 Pin Connetor

X

Y

Z

± 8

± 8

-

± 2

± 8

± 8

多轴

力

传

感器

LF-202M

LF-202M 系列规格参数 Specifications

2.0mv/v± 10 %

18±0.1

4-Ø  2-6H-deep5

输出灵敏度Rated Output

0~5v DC three wire

4~20mA two wire

5

零点输出  Zero Balance

非线性 Non-linearity

± 2 % F.S.

0.1~0.5% F.S.

0.1~0.5% F.S.

0.1~0.5% F.S.

0.1% F.S.

8

滞后Hysteresis

1

2-Ø  5±0.05

重复性Repeatability

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Impedance

40±0.1

30±0.1

20

0.1% F.S. / 10ºC

0.1% F.S. / 10ºC

350~700 ± 3 Ω

≥5000MΩ/100VDC

+0

18-0.05

9±0.1

绝缘电阻Insulation

5-10V for sensor

24V±8V for transmitter

使用电压Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载Safe Overload

极限过载Maximum Overload

电缆线规格Cable Specifications

TEDS 可选

6

7

- 20 ~ 80 ºC

120%

2-M5

200%

4

1

5

2-Ø -2-4Pshield cable

4

30

2.3

1

8

LF303M-40

LF303M-40规格参数 Specifications

X:5/10/20/50kg

Y:5/10/20/50kg

Z:5/10/20/50/100kg

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

1.0~1.5 mV/V

± 2 % F.S.

40±0.1

7

非线性 Non-linearity

1.0-3.0 %F.S.

1.0 % F.S.

17

4-Ø2deep5

滞后 Hysteresis

重复性 Repeatability

0.05 % F.S.

0.05% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

阻抗 Output Impedance

0.05% F.S. / 10℃

0.05% F.S. / 10℃

350(700) Ω

≥5000MΩ/100VDC

5-10V

1

13

4

2-M5

9

绝缘电阻  Insulation

型号 Model

量程Capacity

材料Materials

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

X:5/10kg

Y:5/10kg

Aluminum 铝

- 20 ~ 80 ℃

150%

Z: 10/20kg

LF303M-40

X:20/30/50kg

Y:20/30/50kg

Z: 20/50/100kg

Stainless Steel 不锈钢

200%

可按需制作 As Request

三个方向的力值耦合误差% The Coupling Error of three direction for LF303M Series

X

-

Y

± 3

-

Z

X

Y

Z

± 5

± 8

-

± 3

± 5

± 5

51

/52

LF303M-60

LF303M-60 系列规格参数 Specifications

X:5/10/20/50kg

量程 Capacity

Y:5/10/20/50kg

Z:5/10/20/50/100kg

输出灵敏度 Rated Output

零点输出  Zero Balance

1.0~1.5 mV/V

± 2 % F.S.

非线性 Non-linearity

1.0-3.0 %F.S.

1.0 % F.S.

滞后 Hysteresis

重复性 Repeatability

0.05 % F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

输出阻抗 Output Impedance

绝缘电阻  Insulation

0.05% F.S.

2-M3 deep8

8

14

Ø5.4

0.05% F.S. / 10℃

0.05% F.S. / 10℃

350(700)±3 Ω

≥5000MΩ/100VDC

5-10V

X

Y

7

Z

2-Ø3-7H

deep5

出线位置

3-Ø2导线，

长度2m

Ø3.2

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

5

14

25

- 20 ~ 80 ℃

150%

60

型号 Model

量程Capacity

X:5/10kg

材料Materials

Aluminum 铝

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

Y:5/10kg

可按需制作 As Request

Z: 10/20kg

X:20/30/50kg

Y:20/30/50kg

LF303M-60

Stainless Steel 不锈钢

Z: 20/50/100kg

LF303M-120/160

LF303M-120/160 系列规格参数 Specifications

X:5/10/20/30/50/100/200/300/500kg

Y:5/10/20/30/50/100/200/300/500kg

Z:10/20/30/50/100/200/500/1000kg

量程 Capacity

X:300/500/1000/2000/2500kg

Y:300/500/1000/2000/2500kg

Z:500/1000/1500/2000/2500/3000kg

H

G

铝/不锈钢

Aluminum/Stainless Steel

材质 Material

19

19

输出灵敏度 Rated Output

零点输出  Zero Balance

非线性 Non-linearity

滞后 Hysteresis

1.0~1.5 mV/V

± 2 % F.S.

1.0 %F.S.

A

B±0.1

1.0 % F.S.

0.5 % F.S.

0.5% F.S.

4-M

Ø6

重复性 Repeatability

蠕变 (30分钟）Creep (30min)

A

4-ØD

多轴

温度灵敏度漂移Temp Effect on Output     0.05% F.S. / 10℃

4-ØE DEEP F

零点温度漂移 Temp Effect on Zero

输出阻抗 Output Impedance

绝缘电阻  Insulation

0.05% F.S. / 10℃

350(700)±3 Ω

≥5000MΩ

力

传

型号Model

量程 Capacity

材料Materials

A

B

C

D

E

F

8

L

K

G

H

M

6

感器

X: 5/10/20/30/50/100kg

Y: 5/10/20/30/50/100kg

Z:5/10/20/30/50/100kg

LF303M-120

Aluminum 铝    120 108

30

6.1 10.5

6.1 10.5

24

24

28

30

使用电压 Recommended Excitation

5-10V

X: 100/200/300/500kg

工作温度范围 Operating Temp  Range     - 20 ~ 80 ℃

LF303M-120

LF303M-160

Y: 100/200/300/500kg

Stainless Steel   120 108

不锈钢

30

26

8

24

28

24

28

28

62

30

66

6

Z: 200/300/500/1000kg

X:300/500/1000/ 2000/2500kg

Y:300/500/1000/2000/2500kg

Z:500/1000/2000/2500/3000kg

安全过载 Safe Overload

150%

200%

Stainless Steel

160 110

不锈钢

12.1

20

16

10

极限过载Maximum Overload

静态扭矩传感器

Statical Torque Sensor

53

/54

LT-01

Ø14.75

13

Ø  3

10

Ø  25.4±0.1

12.8

12.8

4-Ø6-H8de9.5

8-M5deep9.5

50.8

LT-01规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~0.1,0.2,0.5,1,2,3,5,10,20,30,50,60,100NM

1.5~2.0 mV/V

材质 Material

Aluminum

350 Ω

阻抗 Impedance

± 2 % F.S.

绝缘电阻  Insulation

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

0.1% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 3 x 3m

Ø41.2

Ø35.8

Ø6.35

0.5

LT-02

14

Ø4

14

Ø35.8

0.5

Ø25.4

2-Ø3.175-6H

上下对称分布各2个孔

8-M4 deep5

Capacity

M

0-30NM

M4

50-100NM

M5

LT-02规格参数 Specifications

静态

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~1,2,3,5,10,20,30,50,100NM

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

绝缘电阻  Insulation

Aluminum/Alloy Steel

700Ω

扭

矩

传

感

器

≥5000MΩ/100VDC

5-10V

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

0.1% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

200%

0.05% F.S. / 10ºC

0.05 % F.S. / 10ºC

Ø 4 x 3m

静态

扭

矩

传

感

器

LT-03

8-M5-6H深6

上下对称分布

Ø35

Ø6±0.05

3

5

5

Ø38.1

Ø41

LT-03规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~1,2,3,5,10,20,30,50,100NM

2.0±10% mV/V

± 2 % F.S.

材质 Material

Aluminum

350 Ω

阻抗 Impedance

绝缘电阻  Insulation

≥5000MΩ/100VDC

10V

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

滞后 Hysteresis

0.1% F.S.

- 20 ~ 80ºC

120%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 4 x 3m

M5*0.5

LT-04

8-#8-32-2B

DEEP6.4

OR 8-M4-6H

DEEP6.5

Ø50.2

Ø43

Ø19.05

Ø12.8

3

LT-04规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0~1,2,3,5,10,20,30,50NM

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

Aluminum/Alloy Steel

700Ω

≥5000MΩ/100VDC

5-10V

绝缘电阻  Insulation

非线性 Non-linearity

0.2% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

滞后 Hysteresis

0.2% F.S.

- 20 ~ 80 ºC

150%

重复性 Repeatability

0.2% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

200%

0.05% F.S. / 10ºC

0.05 % F.S. / 10ºC

Ø 3 x 3m

55

/56

LT-06

Ø35

Ø30

Ø20

8-M4

DEEP5

4-Ø4-H6 DEEP5

Ø30

LT-06规格参数 Specifications

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

1,2,3,5,10,20,30,50NM

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

Aluminum/Alloy Steel

750Ω

≥5000MΩ/100VDC

5-10V

绝缘电阻  Insulation

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

滞后 Hysteresis

0.1% F.S.

- 20 ~ 80 ºC

120%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.1% F.S.

200%

0.05% F.S. / 10ºC

0.05 % F.S. / 10ºC

Ø 3 x 3m

LT-12

Ø32

Ø17

传感器出线位置

导线直径Ø2

9  8

4

外圆固定孔

4-Ø2.5均布

LT-12规格参数 Specifications

静态

量程 Capacity

输出灵敏度 Rated Output

零点输出  Zero Balance

0-0.1,0.2,0.3,0.5,1,2,3,5 NM

2.0±10% mV/V

± 2 % F.S.

材质 Material

阻抗 Impedance

Aluminum

350 Ω

扭

矩

传

感

器

绝缘电阻  Insulation

≥5000MΩ/100VDC

5V

非线性 Non-linearity

0.1% F.S.

使用电压 Recommended Excitation

工作温度范围 Operating Temp  Range

安全过载 Safe Overload

极限过载Maximum Overload

电缆线规格 Cable Specifications

TEDS 可选

滞后 Hysteresis

0.1% F.S.

- 20 ~ 80ºC

120%

重复性 Repeatability

0.1% F.S.

蠕变 (30分钟）Creep (30min)

温度灵敏度漂移Temp Effect on Output

零点温度漂移 Temp Effect on Zero

0.05% F.S.

150%

0.05% F.S. / 10ºC

0.05% F.S. / 10ºC

Ø 2 x 3m

微型位移传感器

Micro-Displacement Sensor

外形尺寸  Dimensions

Ø8h6

规格类型  Model type

黄

红

蓝

黑

LW-141(341)

LW -141A(341A)

7.5

36

容栅测量系统，玻璃材料传感器

Capacitance measuring system, glass sensor

技术指标 Specifications

端口输出说明 Output description

规

格

类型Type

10μ

1μ

10μ

1μ

型号 Model

LW-141

LW-341

LW-141A

LW-341A

检测系统 Measuring  System

测量范围 measuring range

分辨率 resolution

容栅测量系统，玻璃材料传感器 Capacitance measuring system, glass sensor

12 mm

10um

10um

20um

10mm

1um

-

-

10um

10um

20um

1um

1um

3um

重复定位精度 repeatability

全程精度 Total accuracy

工作电压 Working voltage

工作电流 Working Current

测量力 Measuring force

数据更新速度 Speed of update data

外壳保护等级 Protection Class of Case

使用寿命 Working time

出线方式 Cable exit

1um

黄

红

蓝

黑

3um

5V

<18mA

1.2N

串口型（LW-141A LW-341A)

serial port

接线型(LW-141 LW-341)

wire port

10ms（100次/S）

IP67(带防尘套)

引脚编号PIN

功能function

TXD(数据  OUT)

RXD(数据  IN)

5V（电源）

引脚颜色Color

黄 Yellow

红 Red

功能function

反复测量 1000万次（保证精度）

2

3

4

5

5V（电源）

GND(地)

DB9针

DB9针

四芯出线

四芯出线

引线长度 Cable length

2m

蓝 Blue

RXD(数据  IN)

TXD(数据  OUT)

尺寸 Size

149×36×19mm 夹持位置直径  8mm

GND(地)

黑 Black

57

/58

动态扭矩传感器

Dynamical Torque Sensor

动态

传感

LT-103微量程扭矩传感器

LT103  low capacity torque sensor

产品简介：

LT-103 微量程扭矩传感器适用于主要应用于微量程（2Nm 以下）扭

矩的测量。当扭矩测量值小于 2Nm 时，旋转体支撑轴承的磨擦力矩

就成了不可忽略的干扰因素。LT-103 型采取应变区和供电、发射区

分开布置，使应变区避开轴承的影响，有效的改善和提高了扭矩传感

器的抗过载能力及测量精度。

LT-103  is mainly  used  in torque  measurement   of low  capacity

(under 2 NM).When  measuring  torque  values is  less than 2 Nm,

the friction torque of revolving support bearing can’t be ignored as

the main   interference   factors.  Our  LT-103‘s strain  area  and

power  supply,  and launching   region  are separated,   and

make

strain area to  avoid the influence of  the bearing, which effectively

improve and enhance  the overload resistance  and measurement

accuracy of torque sensor.

产品特点：

安装尺寸图

LT-103 微量程扭矩传感器是  LT-102 扭矩传感器的小量程方式：

当量程小于2Nm 时，传感器两端的支承轴承的磨擦力矩就成了不可

忽略的干扰因素。LT-103 扭矩传感器在结构上与 LT-102  扭矩传

感器的不同之处：在于避免了轴承的磨擦力矩的干扰。

Ø10

-0.02

-0.04

Features:

3

3

15

6

15

26

60±0.1

LT-103 is low capacity of LT-102  torque sensors. When capacity

is less than2N.M, the friction  torque of support bearing of two side

can’t be ignored as the main interference factors.  The difference

between LT-103 and LT-102 is that LT103  avoid the interference

of friction torque.

20

48

8

5

76

62

45

105

55±0.1

70

209

安装：

LT-103 扭矩传感器分a．b 端，b 端为测量端,a  端为辅助，

b 端通过联轴器与被测设备相联接，安装时一定要避免附加弯矩。

Installation

3

There is a, b terminal for  LT-103, b terminal is for measuring, and

a terminal is auxiliary.

20

27

209

B terminal  is  connected  with measured  equipment  by  coupling,

and have to avoid additional moment during installation.

LT-103技术指标：Specifications

使用注意：

量程 Capacity

0.05Nm、0.1Nm、0.2Nm、0. 5Nm、1Nm、2Nm

±15V DC（适用频率信号输出）、24V DC

（适用电压或电流信号输出）

1. 接线必须正确;

2.±15V 的范围: 不得低于± 14.5V 不得高于± 15.5V ;

3. 信号线输出不得对地, 对电源短路,  输出电流不大于10mA;

4. 屏蔽电缆线的屏蔽层必须与±15V 电源的公共端（电源地）连接。

5. 本传感器弹性体非常精小，严格限制过载，过载范围≤20%，否则

极易损坏。

供电电源 Power Supply

±15V DC for Frequency output signal、

24V DC for Voltage or Current Output

5～15Khz（幅值12V,零点10kHz）、

4～20mA、1～5V、0-10V（可选）

5～15Khz（Range 12V,Zero 10kHz）、

4～20mA、1～5V、0-10V（option）

扭矩信号 Torque Signal

6. 使用中如有疑问请及时与本公司联系, 保修期之内不得自行拆卸。

0～1000、3000、6000、8000转/分

0～1000、3000、6000、8000r.p.m

转速量程 Speed Capacity

转速信号 Speed Signal

Cautions:

1.Be sure that wire connection is correct.

60脉冲/转(无积累误差，幅值12VDC)、4-20mA、1～5V

60 Pulse/revolution (without accumulated error,

range 12VDC) 4-20mA  1-5V

2.±15V:  it means  that not  lower  than ± 14.5V,  and  not higher

than ± 15.5V ;

3.Dot short cut Signal wire with  GND and power, Output current is

not higher than 10mA

精度  Accuracy

±0.25%、±0.5%

0.3%/年0.3/Year

≥200MΩ(100VDC)

年稳定性Stability per year

绝缘电阻 Insulation

4.Must  connect  shield coat  of shield  cable  with  circuit  common

(GND) of ±15V Power

-20～60℃（可定制高温型-20～120℃ ）

-20～60℃( Can custom -20～120℃)

环境温度 Environment Temperature

5.The  elastomer    of this  sensor   is  very  small,  be  care  not  to

overload,   overload   range   ≤20%,  otherwise,   it  is easy   to be

destroy.

相对湿度 Relative Humidity

过载能力 Overload

0～90%RH

150%

6.If you have any questions, please directly contact with us, don’t

remove any parts during warranty period.

频率响应 Response Frequency

1ms

59

/60

LT-102动态扭矩传感器

20Nm

20000Nm

结构示意图

H

d

d

扭矩

E

E

B

L

值  正向额定扭矩

G

扭矩仪壳体

测试转动轴

紧固螺母

q=0.2额定扭矩值/kHz

10kHz

0

脉冲值

接线盒

5kHz

15kHz

反向额定扭矩

h

底座

F

调整螺钉

技术特点 Characters

LT-102技术指标：Specifications

1. 既可以测量静止扭矩，也可以测量旋转扭矩；

2. 检测精度高、稳定性好、抗干扰性强；

3. 体积小、重量轻、易于安装；

5Nm、10Nm、20Nm、50Nm、100Nm、200Nm、

500Nm、1000Nm、2000Nm、5000Nm、

10KNm、20KNm、30KNm、50KNm

量程 Capacity

4. 不需反复调零即可连续测量正反转扭矩；

5. 没有集流环等磨损件，可以高转速长时间运行；

6. 应变弹性体强度大，可承受150% 载荷；

7. 抗干扰性强，可任意位置，任意方向安装；

8. 传感器部分可脱离二次仪表独立使用，直接与测量板卡、

PLC 或DCS 组成扭矩测量装置

±15V DC（适用频率信号输出）、

(Suitable for  frequency signal output)

24V DC（适用电压或电流信号输出）

Suitable for Voltage or Current output

供电电源 Power Supply

5～15Khz（幅值12V,零点10kHz）、

4～20mA、1～5V、0-10V（可选）

5~15Khz ()

扭矩信号 Torque Signal

转速量程 Speed Capacity

1.Both static  torque and   rotated torque  can be mea-

sured.

0～1000、3000、6000、8000转/分

0~1000 3000 6000 8000 r.p.m

2.High   Accuracy,    Good   stability,     Strong    anti-

interference

动态扭矩

60脉冲/转(无积累误差，幅值12VDC)、

4-20mA、1～5V

3.Small Volume, Low weight, easy to install

4.Cancontinuously    measure   positive  and  negative

torque without re-set zero

转速信号 Speed Signal

60Pulse/revolution(without accumulated error,

range 12VDC) 4-20Ma, 1-5V

传感器   5.Withouthigh speedCollectingfor long timering wear  parts, can  rotate  with

6.Overload up to 150% FS

精度  Accuracy

±0.25%、±0.5%

0.3%/年0.3/Year

≥200MΩ(100VDC)

年稳定性Stability per year

绝缘电阻 Insulation

7.Strong  anti-interference,     can be  installed  at  any

position and direction

-20～60℃（可定制高温型-20～120℃）

Can custom high temperature -20～120℃

环境温度 Environment Temperature

8.Sensor part  can be used separately  without indica-

tor, and  it can  be connect  with  PLC, DCS  Collecting

Card as torque measuring device.

相对湿度 Relative Humidity

过载能力 Overload

0～90%RH

150%

频率响应 Response Frequency

1ms

动态

传感

应用领域 Application

■检测电动机、内燃机等旋转动力设备，输出扭矩及功率；

Detect rotating power equipment such as electric motors,

internal combustion engine, the output torque and power;

■检测各种机械加工中心、自动机床的工作过程中的扭矩；

Detect various torque in process of mechanical processing

center, and automatic machine work

■检测各种旋转动力设备系统所传递的扭矩及效率；

Detect various rotating torque and efficiency of the passed

power equipment system

■可用于制造粘度计、电动、气动、液力扭力扳手；

Can be used in the manufacture of viscometer, electric,

pneumatic, hydraulic torque wrench

尺寸对照表：

N.m

5-100

200

D

d

18

28

L

E

H

h

B

G

F

键（长×宽×高）key (LxWxH)

26×6×6

备注note

78

188

207

240

275

298

356

388

395

451

28

111

132

142

152

164

189

204

270

273

54

72

72

72

69

69

68

80

79

79

10

10

10

11

12

14

14

17

17

70

单键 single

88

35

60

70

30×8×7

单键 single key

双键Double key

双键Double key

双键Double key

双键Double key

双键Double key

双键Double key

双键Double key

300-500

1000

98

38

48

55

45

65

70

38×10×8

108

118

143

158

205

215

60

70

90

40×14×9

2000

70

77

90

60×16×10

3000-5000

10K-20K

30K

75

100

118

110

135

90

146

170

170

170

93×20×12

98

125

140

109

140

138

108×28×16

102×32×18

123×36×20

50K

注：本图尺寸仅供参考，详细尺寸以订贷为准!

安装示意图：Install

负载设备

联轴器

扭矩传感器

供电及信号连接

联轴器

动力设备

调紧螺栓

调紧螺栓

紧固螺栓

61

/62

液压传感器

Pressure Sensor/Transmitter

液压

LT-9D

LT-9D规格参数 Specifications

量程 Capacity

0~10KPa~250MPa

精度 Accuracy

±0.25%FS;±0.5%FS

24Vdc(9-36Vdc)

4~20mA

供电电压 Excitation Voltage

输出 Output

重复性 Repeatability

±0.1%FS;

桥路阻抗 Bridge Resistance

温度范围 Temperature

过载压力 Overload Pressure

电气连接 Electrical connection

过载阻抗 Load Resistance

过程连接 Process Connection

1000 ohms±10%

-40 ºC~105 ºC

1.5×FS

DIN43650

1000Ω@10-36Vdc

G1/4;M14×1.5;M18×1.5;

M20×1.5;G3/4

水处理，医药设备，恒压供水设备

Mainly applied in water

treatment,medical apparatus

and instruments,and

主要应用 Applications

8

constant-voltage water supply

system,etc.

17

15

G1/2

Ø26

输出类型 Output Type

功能 Function

Power+

颜色 Color

Red

输出类型 Output Type    功能 Function    颜色 Color

1

2

3

power+

Red

1

2

DIN43650

3

DIN43650

Signal+

Blue

Power -

Black

Output:0-5V

Output:4-20mA

Power -/Signal -

White

LT-9Y

LT-9Y规格参数 Specifications

量程 Capacity

0~1mH

2                                    2

O~200mH O

精度 Accuracy

0.5%F.S

供电电压 Excitation Voltage

输出信号 Output Signal

阻抗 Load Resistance

过载压力 Overload Pressure

温度范围 Temperature Range

9-36VDC

4-20mA,0-10V,0-5V

3000-6000 ohms

150%

-40 ºC~125 ºC

电气连接 Electrical Connection     通气电缆 Ventilation cable

投入式 Throw in type,法兰Flange,

螺纹thread screw,

或客户定制 or as custom

过程连接 Process connection

主要应用 Applications

泵站、深井、水库、洗煤、食品、医药、

工业设备、过程控制等领域

Used for the application of level

measurement for water

plant,sewage treatment

works,towers,water tank,coal

mine,and exploration fields,etc.

电气连接 Electrical Connection

输出类型 Output Type

功能 Function

1-5V

0-5V

0-10V

4-20mA

4-20mA

Excitation +     Excitation -    Signal +

红色 Red         黑色 Black      绿色 Green

Excitation +     Signal +

红色 Red          黑色 Black

颜色 Color

63

/64

LP-9T

LP-9T规格参数 Specifications

量程 Capacity

0～0.2bar ~1600bar

综合精度 Accuracy

非线性 Nonlinearity

重复性 Repeatability

0.25%FS；0.5%FS；1%FS

0.2%FS

0.05%FS

4-20mA（两线制）, 0-5V；0-10V

（三线制）； 4-20mA（2 wires）,

0-5V；0-10V（three wires）

输出信号 Output

S27

Ø26

Ø34

供电电压 Power Supply

24(12~36)VDC

-20~80℃

0~65℃

M

工作温度范围 Working Temperature

补偿温度范围 Compensate Temp

过载压力 Overload

48

15

17

10

121.5±2

150%FS

压力接头材质为不锈钢，外壳材质为

不锈钢或硬制铝可选择

Stainless steel for Connector,

Stainless steel or Aluminum for Case.

S27

Ø26

S27

Ø26

介质材料 Media Materials

M

M

赫斯曼（DIN43650），外壳防护IP65；

防水格兰，外壳防护IP68；航空插件，

外壳防护IP45；

15

17    10

15

17    10

防护等级 电气连接

84

95.5±2

84

104±2

IP Class, Electrical Connection

DIN 43650  IP65, Water-proof glad,

IP68,  Connector  IP45

几种常见电气接头　 Electrical Connection

G1/4, G1/2, 1/2NPT, 1/4NPT,

M12×1.5 or custom as request

过程连接 Process Connection (M)

主要应用 Applications

3

1

2

1

2

4

气/ 液压力测控系统、工业设备、医疗设

备、制冷设备、恒压供水、过程控制等领域

Process control system,liquid level

measurement,gas compressors

lubrication systems,natural gas

production,chemical processing,waste

water treatment,pulp&paper

4

3

3

5

GSP

1

2

3

4

processing,oil production,recovery and

others.

LP-9S

LP-9S规格参数 Specifications

SW24

量程Capacity

0-5KPa,10MPa,100MPa

0.25%; 0.5%

精度Accuracy

4-20mA（二线制）、0-5VDC、

0-10VDC（三线制）

输出信号Output Signal

供电电压Power Supply

18-33VDC

液压传感器

介质温度Medium Temperature

环境温度Environment Temperature

稳定性Stability

-30℃~+85℃

-20℃~+65℃

±0.1%~±0.2% FS/Year

150%

56.5

安全过载能力Safe Over Load

极限过载能力Ultimate Over Load

温度漂移Temperature Shift

外壳材料Housing Material

200%

0.1%FS/10℃

Stainless steel 不锈钢

内7/16UNF、G1/4、1/4NPT

or as custom

可选接口螺纹Process Connection

电器连接Electrical Connection

Direct cable 1m；Hirschman

connector or as request

变送器/放大器

Transmitter/Amplifier

65

/66

L-600型多功能智能变送器

端口定义 Connection

产品描述

高速数据采集、多种方式的滤波处理、线性处理、零位跟踪、自动清零等功能。

实时测量值比较输出。

峰值或谷值捕获功能及峰值比较输出。

模拟输出功能，可以选择4~20mA 或者0~10V、±5V。

通讯功能。对外提供一个 RS485 串口，内部提供一个用于辅助设置的 TTL 串口。对

外 串 口 可 以 执 行 Modbus-RTU  协 议 和 自 定 义 协 议，内 部 串 口 固 定 为

Modbus-RTU 协议，并且是固定的波特率和数据格式。

可以使用本公司的智能传感器( 带TEDS)，实现自动校准

Description

High-speed data acquisition,  many filter processing ways, linear processing, zero

tracking, automatic reset, and other functions.

Real-time measuring value comparison output

Capabilities of capture peak or valley value and Peak value comparison output

Analogue output: 4-20mA or 0~10V、±5V

Communication:  offer 1pc RS485 serial port, and offer TTL serials port inside as

auxiliary settings. RS485 can support Modbus-RTU protocol or custom protocol, inside

serial port is set as Modbus-RTU protocol, and Baud rate and data form are also fixed.

Can use our TEDS smart sensors, and calibrate automatically

单独使用一套

直流 24V电源

特点

采集性能：24 位采集芯片，5-3200Hz 采集速度。理论上240 次采集速度时有效精

度为17-18 位。

传感器：外供5V、100mA，5 线制带TEDS  传感器( 兼容普通传感器)。

通讯口：RS485，通讯速率1200~115200, 通讯协议Modbus-RTU 或者主动发送。

开关量输入输出口：1DI+3DO. 带光电隔离，输出为OC 输出，200mA/24V。

模拟输出：4~20mA( 小于500) 或者0~10V/±5V  输出。

供电：24V±10%DC，<200mA。( 产品要单独使用一套直流24V 电源)

使用环境：-20~70℃，湿度<90%RH( 不结露)。

变送

器

Features

放大器

Measurement   performance:   24bit   acquisition   chip;  acquisition   speed:  5-3200Hz;

Effective precision is 17-18bits when acquisition speed is 240Hz in theoretically.

Sensor:  Power  supply  5V,  100Ma,  5 Wires  TEDS  sensor  (  can be  compatible   with

normal sensors.)

Communication    port:    RS485  serial   port,  communication     speed:  1200~115200,

communication serial port: Modbus-RTU or Unsolicited

Switch I/O : 1DI+ 3 DO,  With photoelectric isolation, output is OC output, 200 mA / 24V.

Analogue Output: 4~20mA(less than 500) or 0~10V/±5V Output

Power supply: 24V (±10%)DC,<200mA

Operational environment:  -20~70℃; humidity: ＜85 %RH (non-condensate).

变送

器

放大

LZ-700

LZ-700 规格参数 Specifications

精度 Accuracy

0.1%

输入信号 Input Signal

输出 output

0.5~30 mV/V

0-5V,0-10V,±5V,4-20mA

-20~50℃≤85%RH

100Hz

工作环境 Operation Environment

动态响应 Dynamic Frequency

电源 Power Supply

24VDC

58

29

LZ-700 可与各种电阻应变式、陶瓷压阻式、扩散

硅压阻式传感器配套使用，实现对力、压力、重量、

位移、扭矩、液位等物理量转换变送。可与我公司

研发生产的各种传感器配套使用，其信号可直接

输入计算机或测控仪等。

1、塑料外壳标准型

33.5

21

2、多种信号输出，方便用户需求

3、抗电磁干扰能力强，应用范围广

4、零点、满度可调整

5、可作重量变送器等

LZ-700 DC voltage transmitter/amplifier

can work together with strain

1、Standard plastic housing

2、Multi choices of output signals to meet

customers’requirements

gages,ceramic piezoresistive sensors,and

diffused silicon piezoresistive sensors shich

can realize the conversion and transmitting

of physical quantity,such as

3、Strong resistance to electromagnetic

interference,and wide applications

4、Zero or full scale can be adjusted

5、Able to be used as weight

transmitter,etc

force,pressure,weight,displacement,torque

and liquid level.And the signal can be

directly input in computers or other

measurement and control instruments.

12

6

LZ-700B

LZ-700B规格参数 Specifications

1.金属外壳

精度Accuracy

0.1%

2.多种信号输出，方便用户需求

3.抗电磁干扰能力强，应用范围广

4.零点、满度可调整

输入信号 Input Signal

输出Output

0.5~30mV/V

5.可作重量变送器等使用

6.支持双通道同时使用

0-5V,0-10V,±10V,±5V,4-20mA

-20~50℃,≤85%RH

100-2000HZ

工作环境Operation Environment

动态响应Dynamic Frequency

电源Power Supply

1. Aluminum Housing

2. Many choices of output signals

and easy to use;

3.Strong resistance to

electromagnetic interference, and

wide applications;

24VDC

4.Zero or full scale can be

adjusted;

5.Able to be used as weight

transmitter, etc.

6.Two channels is available

48

4

LZ-700B 信号转换器采用铝合金外壳，内部采用原装高性能器件，将接收的

传感器信号进行精密放大、稳压、恒流供桥、电压电流转换，阻抗适配、线性补

偿，温度补偿等。将力学量转换成标准的电流、电压信号输出，可直接与自动控

制设备PLC 连用。具备标准信号外调零、外调增益功能。输入过压保护和输出

短路保护。LZ-700B 信号转换器为双路输入，单路输出，即可接两个传感器。

LZ-700B signal transmitter is assembled with aluminum housing and

high performance  original  components.  Transmit  and compensate

signal while received.

Transmitting  force  signal to standard current

/voltage  signal, and  can directly  connect with  PLC and other  auto-

matic equipment.  Zero and  Span is adjustable  at outside,  has input

and  output  overload  protection.   LZ700B  has  2 input  ports  and  1

output port and can connect 2 sensors.

1.5

23.5

83.5

67

/68

L800型多通道智能变送器

L800 Multi-Channels Smart Transmitter

产品描述

主要功能

技术指标

L800 型8 通道多功能智能变送器是一款高性能、

高精度的快速数据采集产品，同时模拟量输出和通

讯输出等多种功能。该模块安装方便，配合我公司生

产的专用传感器，可适应于各种生产系统的力值测

力与精密控制。

1. 高速数据采集、多种方式的滤波处理、线性处理、

零位跟踪、上电清零、通讯清零、按键清零等功能。

2. 模拟输出功能，可以选择0~10V、±5V。

3. 通讯功能。对外提供一个RS485 串口和一个

RS232 串口，对外串口可以执行Modbus-RTU

协议和主动上传。

1. 最多8 路独立的采集通道，采集速度

50-3200Hz 可调，采集精度12-18 位，滤波可调，

可单独校准。

2. 传感器外供5V/20mA

3. 两个串口，一个带隔离的RS485 串口和一个无

隔离的RS232 串口。可以设置为Modbus-RTU

或者主动ASC 码发送。通过Modbus-RTU  通讯

可以设定所有参数，可以进行校准。

Description

4. 校准功能。可以使用通讯砝码校准和通讯数字校准。

5. 可以使用本公司的智能传感器( 带TEDS)，实现

自动校准。

L800   is   8-channel     multifunctional        smart

transmitter,     which  is  a  fast  data   acquisition

product with high performance, high precision and

multi-functions      such   as  analog   output   and

communication   output,  etc..The  module  can be

easily installed,  and it  is able to be adapted  to all

kinds of  force value measurement  and  precision

control   for  production     system   together   with

ourselves sensor.

4. 带隔离的8 路变送输出。输出可以选0-10V  或

者±5V。

5. 具有零位跟踪、上电清零或者通讯命令清零等功能。

6. 可以通过通讯进行砝码标定或者数字校准。

Main Function

1.Multi-functions      such   as  high-speed    data

acquisition,       a  variety    of  ways    of  filtering

processing,    linear  processing,    zero  tracking,

a u t o m a t i c a l l y  z e r o  w h e n  p o w e r - o n ,

communication reset, keypad zero, and etc.

2.Analog output function: optional 0~10V or ±5V.

3.Communication function:  RS485 serial port and

a RS232  serial port.  And the external  serial  port

can  perform    the  Modbus   RTU  protocol    and

initiatively sending.

Technical Specifications

1.Up to 8 independent acquisition channels,

adjustable acquisition speed from 50 to 3200Hz,

12-18bits acquisition accuracy, filter can be

adjustable, can be calibrated individually.

2.External supply for sensors:5V/20mA

3.Two serial ports: one non-isolated RS232 serial

port and one isolated RS485 serial port. They can

be set to the Modbus-RTU or actively send in

ASC code. All parameters can be set by

Modbus-RTU communication, and can be

calibrated as well.

4.Calibration   function:  May use  communication

calibration with weights and communication digital

calibration.

5.Able  to achieve  automatic  calibration  with  our

smart sensors (with TEDS)

变送 端口定义 Connection

4.Transmitting output with isolated 8-channel,

optional 0-10V or ±5V of output.

器

5.Has functions zero tracking, automatically zero

when power-on, zeroing by communication

command, and etc.

放大器

6.Able to execute calibration with weights or

digital calibration through communication.

变送

器

放大

L900

58.2

7.2

应用及特点 Application

技术参数  Technical Parameters

目前最小的数字式测力仪表（俗称“小灵通“）！是传统模拟

变送器更新换代产品。

1、测量性能：24bit ADC 芯片，采集速度5~1280，显示范围

-99999~999999，输入信号范围0-±20mV

2、变送输出：12 位DAC，0-10V 或±5V  输出

3、通讯口：1 个非隔离RS485 串口。

1、简单称重测力。

2、串口通信，可选modbus-RTU 通讯、主动上传。

3、高性能OLED 汉字显示，温度适应范围宽、显示速度快。

4、具有上电清零、通讯清零、手动清零、自动零位跟踪等功能。

5、0-10V 或±5V 模拟量输出(  与通讯二选一)。

4、显示按键：96×16 点阵汉字显示，3 个按键操作。可以进行

参数修改，砝码标定，数字校准等功能。

5、电源：直流型：24V(±10%) 、0.5A.

6、工作环境：-10 ~ 60℃ 35 ~ 60 %RH

The smallest  digital indicator,  and can replace  analogue

transmitter.

1、Measuring  Performance:    24 bit  ADC,  Sampling  Speed

5~1280HZ,   Display  Range:   -99999~999999   Input  Signal

range:0-±20mV

1、Simple Weighing and force measurement

2、Serial communication, Modbus-RTU  is available, uploads

datainitiatively

2、Analogue Output: 12 bit DAC, 0-10V or ±5V

3、Communication Port: 1 isolated RS485 Port

4、Display keyboard: 96×16  dot-matrix chinese  characters,

3pcs  keyboard   operation,   can  modify   parameter,   weight

calibration, digital calibration

3、High    performance      OLED   Chinese     display,     wide

temperature, high display speed.

4、Automaticzero     clearing    whenpowerup     and  by

communication or by hand, automatic zero tracking

5、0-10V or ±5V or Communication

5、Power supply: 24V(±10%) 、0.5A.

6、Working Temperature : -10 ~ 60℃ 35 ~ 60 %RH

L990

97.5

73

30

3.5

81.5

应用及特点 Application

技术参数  Technical Parameters

1、高速数据采集，零位跟踪，自动清零功能

2、通讯功能。提供一个RS485 串口，可选modbus-RTU  通讯、

主动上传。

1、测量性能：24bit ADC 芯片，采集速度5~1280，显示范围

-99999~999999，输入信号范围0-±20mV

2、通  讯  口：1 个  非  隔  离 RS485  串  口，通  讯  速  率

1200~115200，通讯协议modbus-RTU 或者主动发送

3、电源：直流型：24V(±10%) 、0.5A.

3、按键恢复出厂设置。按1 秒清零，10 秒恢复出厂设置。

1、High Speed data acquisition , zero tracking, automatic zero

clearing

4、工作环境：-10 ~ 60℃ 35 ~ 60 %RH

2、Serial communication:  RS485,  Modbus-RTU is available,

uploadsdatainitiatively

1、Measuring  Performance:   24  bit  ADC, Sampling   Speed

5~1280HZ,   Display  Range:  -99999~999999    Input  Signal

range:0-±20mV

3、Reset  to factory  by  keyboard,  It  will  reset to  zero  when

press  button for  1 second  and reset  to defaults  when press

button for 10 seconds.

2、Communication      Port:   1  non-isolated     RS485   Port,

Communication  Speed: 1200~115200,  Communication  port:

Modbus-RTU or actively send

3、Power supply: 24V(±10%) 、0.5A.

4、Working Temperature : -10 ~ 60℃ 35 ~ 60 %RH

69

/70

控制仪表

Digital Control Indicator

控制

仪表

L-100型通用力值测量仪表    L100 Universal Control Indicator

产品描述

Description

1、简单称重测力、比较输出功能。

2、峰值捕获、峰值比较输出功能。

3、开关量输入输出可以定义。

1、Simple weighing, force measuring, Comparing output function

2、Have Functions of Peak Capture, Peak Compare output

3、Can defined on-off input and output

4、高性能OLED 或LCD  汉字显示，温度

适应范围宽、显示速度快。

4、High Performance  OLED  or  LCD Display  in Chinese word  ,widely working

temperature, High Display Speed

5、具有上电清零、通讯清零、手动清零、自

动零位跟踪或者蠕变跟踪等功能。

6、多串口通信，可选Modbus-RTU通讯、

主动上传以及其他定制协议。

5、Have Functions of power on zero clearing, communication zero clearing, hand

zero clearing, automatic zero tracking or creep tracking

6、Multi  series  communication:   Modbus-RTU,  Upload  initiatively   and  other

custom protocol

7、具有TEDS 接口，与TEDS  传感器配

套可以实现自动校准。

7、Have TEDS interface, can work  with sensors with TEDSCan offer different

kind  of analysis,   detect,  or  tracking  control  function   according  to  customer

request

端口定义 Connection

特点

1、测 量  性  能：24bit ADC  芯 片，采  集 速  度 50-3200  次，显  示 范  围

-99999~999999，输入信号范围0-±30mV.

2、变送输出：12 位DAC，0-10V 或±5V  输出

3、通讯口：1 个非隔离的RS232 串口，1 个隔离型RS485  串口。

4、开关输入输出口：3 路开关量输出，OC 输出方式、驱动能力500mA/64V；1 路

开关量输入。

5、显示按键：128×64 点阵汉字显示，4 个按键操作。

6、电源：直流型：24V(±10%)、0.5A.

7、工作环境：-10 ~ 60℃ 35 ~ 85 %RH

Features

1、Measuring  Performance:   24bit  ADC  Chip,  Sampling  speed  50-3200Hz,

Displaying Range: -99999~999999 Input Signal: 0-±30mV

2、Transmitting Output: 12bit DAC, 0-10V or ±5V

3、Communication Port: 1 Non-isolated RS232, 1 isolated RS485

4、On-off    input    and   output:    3pcs   on-off    output,     OC  output,    Drive

capability500mA/64V, 1pc on-off input

5、Display keyboard: 128*64 display of dot-matrix Chinese, 4pcs operating key-

board.

6、Power: DC 24V(±10%)、0.5A.

7、Working temperature：-10 ~ 60℃ 35 ~ 85 %RH

71

/72

L400型通用力值测量仪表

L400 Universal Force Value Measuring Module

产品描述

Description

1、简单称重测力、比较输出功能。

2、峰值捕获、峰值比较输出功能。

3、开关量输入输出可以定义。

4、RS485 通信，可选Modbus-RTU 通

讯、主动上传以及其他定制协议。

5、具有上电清零、通讯清零、手动清零、自

动零位跟踪或者蠕变跟踪等功能。

6、三色段码LCD 显示，温度适应范围宽、

显示速度快。

1、Simple weighing, force measuring, Comparing output function

2、Have Functions of Peak Capture, Peak Compare output

3、Can defined on-off input and output

4、RS485 communication,   with optional  Modbus-RTU  communication,   actively

send and other customized protocols.

5、Have Functions of power  on zero clearing, communication  zero clearing, hand

zero clearing, automatic zero tracking or creep tracking

6、LCD display  in three  color  segment code,  wide  temperature  range, and  fast

display speed.

7、具有TEDS 接口，与TEDS  传感器配

套可以实现自动校准。

7、TEDS interface is allowed to achieve automatic calibration with TEDS sensors.

8、A variety of analyzing detection or tracking control functions can be added based

on customer requirements.

8、可以根据客户要求增加各种分析检测或

者跟踪控制功能。

端口定义 Connection

特点

1、测量性能：24 位采集芯片，采集速度50-4800 次，显示范围

-99999~999999，输入信号范围0-±30mV。

2、变送输出：12 位DAC，0-10V、±5V 输出或4-20mA。

3、通讯口：1 个隔离型RS485 串口。

4、开关量：4 路开关量输出，OC 输出方式、驱动能力500mA/64V；2 路开

关量输入。

5、显示按键：双排段码显示，4 按键操作。

6、电源：直流型：24V(±10%) 、0.5A.

7、工作环境：使用温度-10 ~40℃，储存-20~60℃，湿度小于  85 %RH( 不

结露)

控制

仪表

Features

1、Measuring Performance: 24bit ADC Chip, Sampling speed

50-3200HZ, Displaying Range: -99999~999999 Input Signal: 0-±30mV

2、Transmitting output: 12bit DAC, 0-10V or ±5V  or 4-20mA output.

3、Communication port: one isolated RS485 serial port.

4、Switch-value: 4 channel on off output, OC output mode, drive ability of

500mA/64V; 2 channels on off input.

5、Display key pads: double row segment code display and 4 function

keys.

6、Power: DC 24V(±10%)、0.5A.

7、Operational environment: working temperature: -10 ~ 40℃; storage

temperature: -20~60℃; humidity: ＜85 %RH (non-condensate).

控制

仪表

LZ-800 控制仪表   Digital Control Indicator

产品采用先进的集成电路技术，功能丰富而可以灵活配置，软件升级方便，先进的

电源技术，使产品适合于大多数的工业环境。

With adcanced integrated circuit technology,it has many functions and

also,it’s easy to be flexibly configured and update the software,and it is

great to be suitable in the industrial environment.

LZ-800 TECHNICAL SPECIFICATION

环境温度 Temperature:-20℃~70℃

使用条件 Working Environment

相对湿度 Relative Humidity:<90%

AC85~265V 频率Frequency

电源电压 Power Supply

50Hz/60Hz or 直流 DC 24V

测量误差 Measurement Error

±0.5%F.S

桥路供电电压 Bridge Circuit Power Supply   9V,Max current 500mA

两路继电器，负载10A/250V或10A/30V

输出节点 Output Point

Two relays,load at 10A/250A or 10A/30V

可采集正负信号并显示正负值

Collect plus and minus signal,and

dispilay plus or minus valve

测量范围 Measuring Range

开孔尺寸 Perforation Size

外壳 Case

92mm×45mm

塑料Plastic

本配置为 RS232  串口可选配置为  RS485

串口、20mA 电流环串口、0-5V/1-5V/0-

10V 模拟量、0-20mA/4-20mA 模拟量

Standard:RS232;Optional:RS485;20mA;

0-5V/1-5V/0-10V  analog;0-20mA/4-

20mA analog

输出接口 Output Port

LZ-801M 控制仪表 Digital Control Indicator

本产品是针对工业现场需要进行重量变送的场合而开发生产的一种小型重量显示

器，具有体积小巧，性能稳定，操纵简单适用的特点。

This miniature weighting scales displayer is development for online

industria weighting transform,it has small size,stable performance and

easy operation characterstics.

LZ-801M TECHNICAL SPECIFICATION

环境温度 Temperature:-20℃~70℃

使用条件 Working Environment

相对湿度 Relative Humidity:<90%

电源电压 Power Supply

直流 DC 24V±0.5%

±0.1%F.S

测量误差 Measurement Error

桥路供电电压 Bridge Circuit Power Supply   5V,Max current 500mA

A/D转换速度 A/D Switching Speed

测量范围 Measuring Range

120/480/960 times/second

可采集正负信号并显示正负值

Collect plus and minus signal,and

dispilay plus or minus valve

安装尺寸 Perforation Size

外壳 Case

92mm×46mm

铝 Aluminum

本配置为 RS232  串口可选配置为  RS485

串口、20mA 电流环串口、0-5V/1-5V/0-

10V 模拟量、0-20mA/4-20mA 模拟量

Standard:RS232;Optional:RS485;20mA;

0-5V/1-5V/0-10V  analog;0-20mA/4-

20mA analog

输出接口 Output Port

73

/74

LZ-801S 控制仪表   Digital Control Indicator

1、体积小、造型美观、方便适用

3、前面板数字标定、过程简单，方便直观

5、自动零位跟踪功能

2、适用于所有电阻应变桥式称重传感器

4、数字滤波功能

6、上电自动清零功能

7、双向隔离串行口功能，具有RS232/RS485，方便与上位机通讯

8、可通过串行口标定称重显示器（串口标定开关打开）

1、Small Volume,easy to use

2、Suitable for all strain gage sensors

3、Digital Calibration,easy to operate

4、Digital filter function

5、Automatic zero tracing function

6、Automatic zeroclearance for upper PC

7、Double isolate serial port,with RS232/RS485,easy to communicate with PC

LZ-801S技术参数 TECHNICAL SPECIFICATION

环境温度 Temperature:-10℃~40℃

使用条件 Working Environment

相对湿度 Relative Humidity:≤90%

电源电压 Power Supply

直流 DC 24V±5%

±0.01%F.S

非线性 Non-linearity

A/D转换速度 A/D Switching Speed

输出接口 Output Port

120/480/960 times/second

RS232/RS485

最高显示精度 Maximum Display Accuracy

1/300000

混泥土搅拌及沥青混合料设备、冶金高炉、

转炉及化工、饲料的重量控制等场合

Weight control of Concrete mixing and

bitumen mixture equipments,equipments

of converter or blast furnace

主要应用 Applications

burden,chemical industry.

107

58.7

L-240型通用力值测量仪表Digital Control Indicator

5

产品描述 Description

L240 是四路力值通用测量仪表，可实现四

路力值的快速测量、数字滤波、实时显示和

通讯输出。该仪表为底板安装，正面插拔端

子接线，体积小、安装接线方便。

L240 is  4 channels  digital  indicator,  it

has 4 separate display value,  commu-

nication     and  digital    filter.      Small

volume, easy to install

1.5

82

40

L240技术参数  Technical Parameters

1、测量性能：24bit ADC芯片，采集速度50-2000次，显示范围-99999~999999，输入信号范

围0-±30mV。

控制

仪表

2、通讯口：1个隔离型RS485串口。

3、显示按键：128*64点阵汉字显示，4个按键操作。

4、电源：直流型：24V(±10%)DC 。

5、工作环境：使用温度-10 ~40℃，储存-20~60℃，湿度小于 85 %RH(不结露)。

1、Measuring Performance: 24 bit ADC, Sampling Speed 50~2000Hz, Display Range:

-99999~999999 Input Signal range:0-±30mV ；

2、Communication Port: 1 isolated RS485

3、Display keyboard: 128*64 dot-matrix chinese characters, 4pcs keyboard operation

4、Power supply: 24V(±10%) 、0.5A.

5、Working environment :   -10 ~ 40℃, Storage Temperature: -20 ~ 60℃ (no

condensation)

控制

仪表

TD-700T 控制仪表 Digital Control Indicator

TD-700T 是我司代理日本“TEAC”公司的一款高性能控制仪

表，其具有以下特点：

TD-700T技术参数 TECHNICAL SPECIFICATION

1、五位数字显示，物理量的直接读取可达±99999

2、支持TEDS 传感器，便于校准

10V DC,2.5V±10%（最大电流30mA）

30mA current maximum

桥压  Bridge Voltage

3、链接TEDS 传感器时也可实现自动校准

4、可进行静态应变测量。通过塑性形变易于识别称重传感器缺陷以及

其他问题

信号输入范围  Signal input range

±3.2mV/V

校准范围 Calibration

0.3mV/V-3.2mV/V

5、除了上限和下限比较功能，本仪表也支持上上限和下下限比较功能

支持多种保持功能，包括峰值保持，谷值保持，峰值保持，峰值和谷值

保持，平均值保持和带有区域制定的这些保持

6、符合ROHS 标准

0.1%FS之内（当使用1m长标准蒂雅克Φ8,350Ω阻抗4芯屏

蔽电缆，10V桥压和不小于0.5mV/V的设置时）

When using a 1m standard TEAC Φ8,4-core shielded

cable with 350Ω impedance,10V BV and 0.5mV/V or

greater setting

等效输入/TEDS

Equivalent input/TEDS

校准精度 Range

0.01%FS之内+1位(当输入不小于1mV/V时）

TD-700T  is a high-performance   control indicator,which   we

deal in“TEAC”Company of Japan.It has following features:

1、Display five digits,can directly read up to±99999

2、Support TEDS sensors,easy to calibrate.

非线性 Nonlinearity

零点漂移 Zero drift

Within 0.01%FS+1 digit（When input is 1mV/V or greater)

精度 Precision

0.5μV/℃之内(输入转换值)Within 0.5μV/℃(input conversion value)

增益漂移 Gain drift     ±0.005% FS/℃之内Within±0.005% FS/℃

3、Has equal  dffect input  function,it  can adjust  rated output

without actual load.

A/D 转换率  A/D conversion rate

数字滤波器 Digital filter

4000 times/second

4、Available   for static   strain  measurements.Easy    plastic

deformation   by  the load  cell  to  identify   defects  and  other

problems.

选择3 Hz (-6db/oct),10,30,10,300,1000Hz(-12 db/oct)或无

Select 3Hz (-6db/oct),10,30,10,300,1000Hz(-12 db/oct) or none

隔离的输出，以1V为步长的0±1-10V电压输出或4-20mA

Isolated output,0±1-10V voltage output 1V steps or

4-20mA current output

5、In  addition   to  the  upper   and  lower   limit  comparison

function,this   indicator   also  support  of  comparing  function

between the upper-upper and lower-lower limit.

It   has   many    functions,such          as   peak   hold,valley

hold,peak-peak    hold,peak-valley    hold,average   hold  and

other designated area hold.

D/A输出  D/A output

电流输出4000次/秒

4000times/scond

IEEE145.4类别2 混合模式接口

TEDS 功能 TEDS function

IEEE145.4 class 2 mix mode interface

6、Be suitable to ROHS standard.

75

/76

TEDS系统构成

TEDS传感器一种即插即用的智能传感器(免标定)，

TEDS数字信号包含传感器制造商信息、产品型号和产品编号、传

感器的测量范围，传感器在出厂时的校正信息，也可存储用户的信

息，它内部的存储器可以存储更多的信息。

TEDS Sensors is a kind of Plug and Play smart sensors (

free of calibration)

TEDS includes sensor manufactory’s information, model,

series number, sensor’s range, and calibration information

of sensor before factory. It also can restore user’s

information, and more information if request.

All our instrument and amplifier can work with TEDS

sensors.

本公司的所有智能仪表、数字变送器均支持TEDS功能，能实现传

感器的即插即用。

测量专用仪表，采样 32  位

ARM CPU,OLED  汉字显

示，借助丰富的提示信息，可

在短时间内掌握正确的操作

方法。

单台仪表同时完成四个检测

点数据采集和处理。

Measuring  Instrument,   use

32bits    ARM  CPU,   OLED

Chinese  Display,  can  learn

to  operate   it  in short   time

with abundant information.

4 Single Channels,measure

and process all data of 4

channels at same time

专门定制的耐折弯电缆

Custom resistance to bend cable

“即插即用”智能传感器，大大

简化现场校准工作量！

系

统构成

力准测力传感器

Force Sensor

Plug-in smart sensors, simply

calibration at spot

便携

持

仪

LZ-D01通用型便携式测力计

产品描述 Description

LZ-D01 手持仪器具有高精度高分辨率；2.8  寸真彩色显示屏；曲线监控全测

试过程；上下限值设定；开关量输出；可存储100 组测试报告，1 组测试曲线；

三种单位kg、N、lb 可切换；测试材料强度功能；峰值保持功能；峰值自动解

除功能及解除时间可设定；无操作自动关机省电设计，关机时间自由设定等功

能。使用本仪器前请仔细阅读本说明书，以便充分运用本仪器的所有功能，同时

避免误操作，若因误操作造成的损失由使用方自行承担。

The LZ-D01 portable dynamometer has  advantages of high accuracy, small

size, light  weight, easy to carry,  multi-function  and curve capture.  It can be

used in  testing  equipments,  such  as tension  and compression   force test,

insertion force  test, and destructive  test, etc,  and also can  incorporate with

different   kinds  of  test  equipments    and  clamps  as  small-sized   testing

instruments for different purposes.

特点 Features

1、2.8 寸TFT 真彩色显示屏；

1、High accuracy and high resolution with 2.8 inch TFT true colour display;

2、Built-in real-time clock for displaying real time and date;

2、内置实时时钟，能显示实时时间和日期；

峰值、实时值、和测试过程曲线同屏显示，可监控和追溯     3、Deviation value (Max./Min.) , and within/over tolerance limit warning function;

测试全过程；

4、Optional independent relay output at Max.- and Min.- value, and alarm both

in buzzer and screen display;

3、上下限偏差值自由设定、限内限外报警任意选择；

4、上下限两点独立继电器输出（选配）、蜂鸣器、显示屏同

时提示报警；

5、Direction keys and 180-degree rotating display screen;

6、Three  measuring  units  in  N (Newton),  Kg  (Kilogram)  and  Ib (Pound)

available;

5、方向按键、显示屏幕可180°翻转；

6、三种单位N、kg、lb 自动换算；

7、Functions of Peak-value hold/automatic release and time clear;

8、Memory can store up to 100 sets of test with  test time, peak value, valley

value  and mean  value,  and  1 set of  curve  record  to trace  the entire  test

process;

7、具有峰值保持功能、峰值自动解除及解除时间可设定；

8、可永久保存100 组测试报告，测试报告内容有测试时

间、峰值、谷值 平均值等，还可保存1 组曲线，追溯测试

全过程；

9、Function of testing material strength by input the section area of material;

10、Power saving function can be set as automatic power off if no operation or

automatic backlight;

9、通过输入材料截面积测试材料强度；

10、可任意设置无操作自动关机、自动背光等省电功能；

11、内置图文说明、各种操作直观明了；

12、通过PC 配套专用的测试软件，可无限存储、传递、追

溯测试曲线数据；

11、Built-in manual instruction with photos and texts;

12、Support PC software available for test data storage, print, and analysis, etc;

13、Optional mini printer available;

13、可选配微型打印机打印测试结果；

14、可配置各类测试机台、实现各种测试。

14、Suitable for different kinds of testing equipments.

应用 Applications

手持仪器是我公司设计的新一代通用型便携式测试仪

器。具有体积小、重量轻、易携带、多功能、高精度、曲线捕

捉全测试过程等特点，适用于各种产品的推拉力测试、插

拔力测试、破坏性试验等，并可结合各种测试机台和夹具

组成不同用途的小型试验机。

Tension and compression force test

Insertion force test   Destructive test

Testing equipments

77

/78